## GV-10
GV-10
Lab 1
Sample | 4 Acid Digest / ICP | [32 empty] | Sodium Peroxide Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM1005 | <0.2 | 6.97 | 3 | 401 | 0.3 | 1.2 | 0.2 | 75.9 | 37 | 120 | 114 | 10.5 | 1.59 | 35.3 | 15.2 | 1.23 | 1240 | 1 | 0.78 | 72 | 750 | 16 | 150 | 0.2 | 25 | 3 | 121 | <0.2 | 15300 | 0.4 | 320 | 0.8 | 140 | <5 | 6.22 | <10 | 400 | <1 | 1.2 | <10 | 75.5 | 40 | 150 | 150 | 10.3 | 1.6 | 35 | 13 | 1.2 | 1160 | <5 |  | <50 | 700 | <20 | 0.01 | 2 | 30 | <10 | 133 | 1 | 1.77 | <2 | 250 | <5 | 150
EM1010 | <0.2 | 7.07 | 3 | 408 | 0.3 | 1.18 | 0.1 | 77.8 | 37.5 | 120 | 118 | 10.4 | 1.62 | 36.1 | 14.2 | 1.25 | 1210 | 1 | 0.78 | 78 | 800 | 17 | 150 | 0.2 | 26 | 3 | 120 | <0.2 | 15600 | 0.4 | 340 | 1.0 | 120 | <5 | 6.41 | <10 | 410 | <1 | 1.2 | <10 | 74.5 | 40 | 100 | 150 | 10.3 | 1.7 | 35.5 | 14 | 1.2 | 1190 | <5 |  | <50 | 800 | <20 | <0.01 | <2 | 30 | <10 | 136 | <1 | 1.78 | <2 | 300 | <5 | 100
EM1016 | <0.2 | 7.08 | 3 | 416 | 0.2 | 1.21 | 0.1 | 79.1 | 37.5 | 130 | 117 | 10.6 | 1.64 | 36.5 | 15.4 | 1.27 | 1200 | 1 | 0.81 | 78 | 750 | 17 | 150 | 0.2 | 26 | 3 | 125 | <0.2 | 15300 | 0.4 | 320 | 0.8 | 120 | <5 | 6.59 | <10 | 400 | <1 | 1.3 | <10 | 75.5 | 40 | 150 | 150 | 10.6 | 1.7 | 35 | 15 | 1.25 | 1240 | <5 |  | <50 | 800 | <20 | 0.01 | <2 | 30 | <10 | 140 | <1 | 1.83 | <2 | 300 | <5 | 150
EM1021 | <0.2 | 7.09 | 3 | 411 | 0.2 | 1.22 | 0.2 | 78.9 | 37 | 110 | 117 | 10.6 | 1.62 | 36.6 | 15 | 1.24 | 1230 | 1 | 0.8 | 76 | 800 | 17 | 150 | 0.2 | 26 | 3 | 127 | <0.2 | 15500 | 0.4 | 330 | 0.6 | 120 | <5 | 6.05 | <10 | 400 | <1 | 1.2 | <10 | 74.5 | 40 | 100 | 100 | 10.2 | 1.5 | 34.5 | 13 | 1.18 | 1130 | <5 |  | <50 | 800 | <20 | 0.01 | <2 | 30 | <10 | 140 | <1 | 1.78 | <2 | 250 | <5 | 100
EM1025 | <0.2 | 7.04 | 4 | 412 | 0.2 | 1.19 | 0.1 | 77.5 | 37 | 120 | 114 | 10.4 | 1.6 | 36.2 | 15 | 1.24 | 1220 | 1 | 0.79 | 78 | 800 | 17 | 150 | 0.2 | 26 | 3 | 123 | <0.2 | 16100 | 0.4 | 335 | 0.8 | 120 | 5 | 7.29 | <10 | 410 | <1 | 1.2 | <10 | 76 | 40 | 150 | 150 | 10.4 | 1.8 | 35.5 | 13 | 1.26 | 1270 | <5 |  | 100 | 800 | <20 | 0.01 | <2 | 30 | <10 | 140 | <1 | 1.8 | <2 | 300 | <5 | 150
EM1028 | 0.2 | 6.97 | 4 | 405 | 0.2 | 1.17 | 0.1 | 76.4 | 37 | 120 | 114 | 10.5 | 1.59 | 35.5 | 15.2 | 1.22 | 1210 | 1.2 | 0.8 | 78 | 800 | 16 | 150 | 0.2 | 25 | 3 | 119 | <0.2 | 16200 | 0.4 | 350 | 0.6 | 118 | <5 | 6.53 | <10 | 410 | <1 | 1.1 | <10 | 75.5 | 40 | 100 | 150 | 9.88 | 1.6 | 35 | 13 | 1.2 | 1200 | <5 |  | <50 | 800 | <20 | 0.01 | <2 | 30 | <10 | 140 | <1 | 1.71 | <2 | 250 | <5 | 150
EM1030 | <0.2 | 7.05 | 3 | 412 | 0.2 | 1.19 | 0.1 | 77.5 | 37 | 110 | 118 | 10.4 | 1.61 | 36.2 | 15 | 1.25 | 1210 | 0.8 | 0.78 | 74 | 800 | 16 | 150 | 0.2 | 26 | 2.5 | 121 | <0.2 | 14500 | 0.4 | 300 | 0.6 | 118 | <5 | 7.36 | <10 | 400 | <1 | 1.1 | <10 | 75 | 60 | 150 | 150 | 10.4 | 1.7 | 35 | 14 | 1.26 | 1260 | <5 |  | <50 | 800 | <20 | <0.01 | <2 | 30 | <10 | 133 | <1 | 1.8 | <2 | 300 | 10 | 150
EM1032 | <0.2 | 6.96 | 3 | 414 | 0.3 | 1.18 | 0.2 | 77.4 | 37 | 110 | 116 | 10.3 | 1.59 | 36 | 15.2 | 1.23 | 1190 | 0.8 | 0.77 | 72 | 750 | 17 | 150 | 0.2 | 25 | 3 | 123 | <0.2 | 15300 | 0.45 | 320 | 0.6 | 116 | <5 | 6.57 | <10 | 400 | <1 | 1.1 | <10 | 75.5 | 40 | 150 | 150 | 10.1 | 1.6 | 35.5 | 13 | 1.22 | 1220 | <5 |  | <50 | 900 | <20 | 0.01 | <2 | 30 | <10 | 138 | <1 | 1.76 | <2 | 300 | <5 | 100
EM1037 | <0.2 | 7.02 | 3 | 417 | 0.3 | 1.2 | 0.2 | 78.6 | 37 | 130 | 117 | 10.6 | 1.59 | 35.2 | 13.8 | 1.24 | 1250 | 1.2 | 0.8 | 74 | 850 | 17 | 150 | 0.2 | 25 | 3 | 126 | <0.2 | 16300 | 0.45 | 350 | 0.6 | 124 | <5 | 6.91 | <10 | 420 | <1 | 1.2 | <10 | 76 | 60 | 150 | 150 | 10.2 | 1.7 | 35.5 | 15 | 1.22 | 1230 | <5 |  | <50 | 800 | <20 | <0.01 | <2 | 30 | <10 | 143 | <1 | 1.75 | <2 | 300 | 10 | 150
EM1040 | <0.2 | 6.87 | 3 | 412 | 0.2 | 1.19 | 0.1 | 77.6 | 37 | 120 | 115 | 10.5 | 1.6 | 34.8 | 13.6 | 1.22 | 1220 | 0.8 | 0.79 | 74 | 800 | 18 | 150 | 0.2 | 25 | 3 | 124 | <0.2 | 15300 | 0.4 | 320 | 0.6 | 120 | <5 | 6.36 | <10 | 430 | <1 | 1.2 | <10 | 77 | 40 | 100 | 150 | 10.1 | 1.6 | 36 | 16 | 1.22 | 1190 | <5 |  | <50 | 800 | <20 | <0.01 | <2 | 30 | <10 | 144 | <1 | 1.74 | <2 | 300 | 10 | 150
Average |  | 7.012 | 3.2 | 410.8 | 0.2 | 1.193 | 0.14 | 77.67 | 37.1 | 119 | 116 | 10.48 | 1.605 | 35.84 | 14.76 | 1.239 | 1218 | 0.98 | 0.79 | 75.4 | 790 | 16.6667 | 150 | 0.2 | 25.5 | 2.95 | 122.9 |  | 15540 | 0.41 | 331.6667 |  | 121.6 |  | 6.7525 |  | 408 |  | 1.1667 |  | 75.5 | 40 | 130 |  | 10.248 | 1.58 | 35.25 | 13.9 | 1.221 | 1209 |  |  |  | 800 |  | 0.01 |  | 30 |  | 138.7 |  | 1.772 |  |  | 10 | 135
Standard Deviation |  | 0.068928 | 0.42164 | 4.9171 | 3.0405e-17 | 0.014944 | 0.05164 | 1.0177 | 0.21082 | 7.3786 | 1.633 | 0.10328 | 0.017159 | 0.60222 | 0.64498 | 0.015239 | 18.1353 | 0.14757 | 0.012472 | 2.5033 | 31.6228 | 0.5 | 0 | 2.9257e-17 | 0.52705 | 0.15811 | 2.6437 |  | 542.0127 | 0.021082 | 12.7475 |  | 6.7856 |  | 0.38975 |  | 10.328 |  | 0.05 |  | 0.74536 | 0 | 25.8199 |  | 0.19982 | 0.044721 | 0.42492 | 1.1005 | 0.027669 | 43.8305 |  |  |  | 47.1405 |  | 0 |  | 0 |  | 3.7431 |  | 0.034254 |  |  | 0 | 24.1523
Count | 1 | 10 | 10 | 10 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 9 | 0 | 10 | 1 | 8 | 0 | 10 | 0 | 9 | 0 | 10 | 8 | 10 | 0 | 10 | 5 | 10 | 10 | 10 | 10 | 0 | 0 | 1 | 10 | 0 | 6 | 1 | 10 | 0 | 10 | 1 | 10 | 0 | 0 | 3 | 10
95% Confidence Int. |  | 0.049308 | 0.30162 | 3.5175 | 3.1908e-17 | 0.010691 | 0.036941 | 0.728 | 0.15081 | 5.2784 | 1.1682 | 0.073882 | 0.012275 | 0.4308 | 0.46139 | 0.010901 | 12.9732 | 0.10557 | 0.0089221 | 1.7908 | 22.6216 | 0.38433 | 0 | 2.0929e-17 | 0.37703 | 0.11311 | 1.8912 |  | 387.7325 | 0.015081 | 9.7986 |  | 4.8541 |  | 0.32584 |  | 7.3882 |  | 0.038433 |  | 0.5332 | 0 | 18.4704 |  | 0.14294 | 0.055529 | 0.30397 | 0.78725 | 0.019793 | 31.3544 |  |  |  | 33.7222 |  | 0 |  | 0 |  | 2.6777 |  | 0.024504 |  |  | 0 | 17.2775
Lab 2
Sample | 4 Acid Digest / ICP | [32 empty] | Sodium Peroxide Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM2005 | 0.06 | 7.49 | 6 | 428 | 0.18 | 1.208 | 0.16 | 65.3 | 38.8 | 58 | 111 | 10.47 | 1.66 | 31.7 | 13 | 1.223 | 1262 | 1.3 | 0.787 | 61 | 750 | 15.3 | 100 | 0.23 | 32 | 3.3 | 118 | <0.05 | 17350 | 0.52 | 357 | 1.6 | 129 | nr | 6.81 | <10 | 403 | 0.2 | 1.2 | <0.5 | 66.4 | 34 | 148 | 110 | 10.16 | 1.6 | 32 | 15 | 1.25 | 1182 | <2 | nr | 70 | 900 | 15 | <0.01 | <0.5 | 23 | <10 | 123 | <1 | 1.71 | 0.5 | 353 | <2 | 144
EM2010 | 0.05 | 6.26 | 5 | 426 | 0.18 | 1.113 | 0.16 | 66.6 | 37.4 | 56 | 106 | 10.16 | 1.59 | 32.13 | 13.1 | 1.165 | 1227 | 1.4 | 0.753 | 58 | 720 | 15 | 90 | 0.32 | 31 | 3 | 120 | <0.05 | 16740 | 0.49 | 349 | 1.5 | 124 | nr | 6.88 | <10 | 403 | 0.2 | 1.2 | <0.5 | 70.8 | 33 | 132 | 117 | 10.25 | 1.6 | 33.7 | 21 | 1.24 | 1235 | <2 | nr | 71 | 800 | 16 | <0.01 | <0.5 | 23 | <10 | 121 | <1 | 1.72 | 0.5 | 351 | <2 | 149
EM2016 | 0.07 | 7.62 | 5 | 458 | 0.19 | 1.26 | 0.17 | 69.68 | 38 | 72 | 109 | 10.75 | 1.66 | 33.58 | 12.8 | 1.229 | 1275 | 1.3 | 0.789 | 61 | 760 | 15.8 | 100 | 0.25 | 32 | 3.8 | 126 | <0.05 | 17260 | 0.53 | 392 | 1.3 | 128 | nr | 6.77 | <10 | 396 | 0.2 | 1.2 | <0.5 | 68.8 | 34 | 136 | 115 | 10.23 | 1.5 | 32.9 | 17 | 1.22 | 1224 | 2 | nr | 72 | 800 | 15 | 0.01 | <0.5 | 23 | <10 | 128 | <1 | 1.7 | 0.5 | 345 | <2 | 147
EM2021 | 0.08 | 7.51 | 6 | 451 | 0.18 | 1.233 | 0.17 | 69.88 | 37.5 | 86 | 111 | 10.53 | 1.64 | 33.47 | 13.7 | 1.213 | 1263 | 1.5 | 0.785 | 61 | 740 | 15.5 | 100 | 0.25 | 32 | 3.9 | 124 | <0.05 | 17080 | 0.53 | 371 | 1.5 | 133 | nr | 6.77 | <10 | 401 | 0.2 | 1.2 | <0.5 | 65.9 | 34 | 135 | 117 | 10.19 | 1.5 | 31.6 | 23 | 1.23 | 1229 | <2 | nr | 71 | 700 | 15 | <0.01 | <0.5 | 23 | <10 | 128 | <1 | 1.71 | 0.5 | 344 | <2 | 149
EM2025 | 0.06 | 6.93 | 6 | 450 | 0.17 | 1.158 | 0.15 | 72.1 | 37.5 | 64 | 107 | 10.35 | 1.64 | 34.8 | 14.4 | 1.204 | 1272 | 2.2 | 0.774 | 61 | 760 | 15.1 | 100 | 0.24 | 32 | 3.3 | 125 | <0.05 | 17250 | 0.5 | 359 | 1.7 | 126 | nr | 6.84 | <10 | 400 | 0.2 | 1.2 | <0.5 | 70.2 | 33 | 134 | 126 | 10.24 | 1.6 | 33.7 | 18 | 1.24 | 1213 | <2 | nr | 78 | 800 | 15 | <0.01 | <0.5 | 23 | <10 | 129 | <1 | 1.72 | 0.5 | 347 | <2 | 143
EM2028 | 0.07 | 6.97 | 6 | 459 | 0.18 | 1.18 | 0.2 | 73.21 | 37.7 | 69 | 111 | 10.35 | 1.62 | 35.25 | 13.8 | 1.2 | 1294 | 1.4 | 0.779 | 61 | 740 | 15.3 | 100 | 0.23 | 32 | 3.6 | 128 | <0.05 | 16730 | 0.51 | 362 | 1.6 | 135 | nr | 6.79 | <10 | 381 | 0.3 | 1.2 | <0.5 | 67.2 | 34 | 120 | 114 | 10.17 | 1.5 | 32.2 | 23 | 1.25 | 1187 | 2 | nr | 72 | 700 | 15 | <0.01 | <0.5 | 22 | <10 | 124 | <1 | 1.7 | 0.5 | 331 | <2 | 162
EM2030 | 0.07 | 7.38 | 6 | 476 | 0.18 | 1.23 | 0.17 | 74.36 | 39 | 78 | 110 | 10.62 | 1.67 | 35.55 | 13.7 | 1.238 | 1342 | 1.4 | 0.79 | 62 | 770 | 15.7 | 110 | 0.27 | 33 | 4 | 131 | <0.05 | 17410 | 0.54 | 374 | 1.7 | 129 | nr | 6.84 | <10 | 396 | 0.2 | 1.2 | <0.5 | 68.2 | 34 | 136 | 112 | 10.22 | 1.6 | 33.2 | 16 | 1.24 | 1219 | <2 | nr | 72 | 900 | 15 | <0.01 | <0.5 | 24 | <10 | 129 | <1 | 1.72 | 0.5 | 349 | <2 | 146
EM2032 | 0.07 | 6.99 | 5 | 457 | 0.18 | 1.166 | 0.17 | 72.93 | 36.7 | 56 | 107 | 10.24 | 1.59 | 35.11 | 13.9 | 1.18 | 1281 | 1.3 | 0.76 | 60 | 730 | 15.1 | 90 | 0.22 | 31 | 3.4 | 125 | <0.05 | 16740 | 0.53 | 359 | 1.7 | 127 | nr | 6.85 | <10 | 410 | 0.2 | 1.2 | <0.5 | 70.1 | 34 | 133 | 117 | 10.35 | 1.6 | 33.6 | 16 | 1.24 | 1233 | <2 | nr | 71 | 800 | 16 | <0.01 | <0.5 | 23 | <10 | 130 | <1 | 1.72 | 0.4 | 348 | <2 | 152
EM2037 | 0.09 | 6.98 | 5 | 472 | 0.18 | 1.168 | 0.18 | 74.18 | 37.4 | 76 | 106 | 10.34 | 1.63 | 35.9 | 13.4 | 1.202 | 1306 | 1.4 | 0.772 | 59 | 750 | 15.4 | 100 | 0.26 | 32 | 3.8 | 129 | <0.05 | 16890 | 0.54 | 357 | 1.7 | 125 | nr | 6.81 | <10 | 407 | 0.2 | 1.2 | <0.5 | 68.1 | 34 | 131 | 115 | 10.24 | 1.6 | 32.7 | 15 | 1.24 | 1228 | 2 | nr | 69 | 900 | 16 | 0.02 | 0.6 | 22 | <10 | 127 | <1 | 1.72 | 0.4 | 351 | 3 | 148
EM2040 | 0.07 | 7.08 | 6 | 478 | 0.18 | 1.197 | 0.2 | 76.38 | 37.1 | 73 | 109 | 10.42 | 1.63 | 36.88 | 13.9 | 1.209 | 1309 | 1.3 | 0.78 | 59 | 750 | 15.7 | 120 | 0.26 | 32 | 3.8 | 132 | <0.05 | 16970 | 0.56 | 365 | 1.7 | 132 | nr | 6.86 | <10 | 404 | 0.2 | 1.2 | <0.5 | 69.5 | 35 | 151 | 116 | 10.3 | 1.6 | 33.5 | 14 | 1.24 | 1226 | <2 | nr | 73 | 900 | 16 | <0.01 | <0.5 | 24 | <10 | 132 | <1 | 1.73 | 0.5 | 349 | <2 | 158
Average | 0.069 | 7.055 | 5.6 | 447 | 0.18 | 1.1837 | 0.173 | 72.84 | 37.71 |  |  | 10.423 | 1.633 | 34.437 | 13.57 | 1.2063 | 1283.1 | 1.3667 | 0.7769 | 60.3 | 747 | 15.39 | 101 | 0.253 |  | 3.59 | 125.8 |  | 17042 | 0.525 | 364.5 | 1.6 | 128.8 |  | 6.822 |  | 400.1 | 0.21 | 1.2 |  | 68.52 | 33.9 | 135.6 | 115.9 | 10.235 | 1.57 | 32.91 | 17.8 | 1.239 | 1217.6 | 2 |  | 71.9 | 820 | 15.4 | 0.015 |  | 23 |  | 127.1 |  | 1.715 | 0.48 | 346.8 |  | 149.8
Standard Deviation | 0.011005 | 0.1667 | 0.5164 | 14.0949 | 0.004714 | 0.038036 | 0.016364 | 2.2702 | 0.71562 |  |  | 0.17626 | 0.027508 | 1.6692 | 0.49001 | 0.021889 | 31.5751 | 0.070711 | 0.012423 | 1.2517 | 14.9443 | 0.28067 | 8.756 | 0.028304 |  | 0.32472 | 4.4672 |  | 264.6927 | 0.020683 | 12.0577 | 0.13333 | 3.5839 |  | 0.037947 |  | 8.0062 | 0.031623 | 2.3406e-16 |  | 1.6645 | 0.56765 | 8.682 | 4.2282 | 0.057591 | 0.048305 | 0.76369 | 3.3599 | 0.008756 | 18.6082 | 0 |  | 2.4244 | 78.8811 | 0.5164 | 0.0070711 |  | 0.66667 |  | 3.414 |  | 0.0097183 | 0.042164 | 6.1968 |  | 6.0332
Count | 10 | 6 | 10 | 7 | 10 | 9 | 10 | 8 | 10 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 3 | 0 | 10 | 10 | 10 | 2 | 1 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 1 | 10
95% Confidence Int. | 0.0078725 | 0.17494 | 0.36941 | 13.0356 | 0.0033722 | 0.029237 | 0.011706 | 1.898 | 0.51192 |  |  | 0.12609 | 0.019678 | 1.1941 | 0.35053 | 0.015658 | 22.5875 | 0.054353 | 0.0088866 | 0.89539 | 10.6905 | 0.20078 | 6.2636 | 0.020247 |  | 0.23229 | 3.1956 |  | 189.3497 | 0.014796 | 8.6256 | 0.095381 | 2.5638 |  | 0.027146 |  | 5.7273 | 0.022622 | 1.6743e-16 |  | 1.1907 | 0.40607 | 6.2108 | 3.0247 | 0.041198 | 0.034555 | 0.54631 | 2.4035 | 0.0062636 | 13.3115 | 0 |  | 1.7343 | 56.4281 | 0.36941 | 0.063531 |  | 0.4769 |  | 2.4422 |  | 0.006952 | 0.030162 | 4.4329 |  | 4.3159
Lab 3
Sample | 4 Acid Digest / ICP | [32 empty] | Lithium Borate Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM3005 | 0.04 | 6.57 | 3.3 | 400 | 0.21 | 1.14 | 0.2 | 71.7 | 36.4 | 114 | 115 | 9.6 | 1.51 | 33.1 | 13.5 | 1.16 | 1145 | 1.13 | 0.73 | 66 | 790 | 15.6 | 100 | 0.23 | 25.6 | 3 | 126 | <0.05 | 15000 | 0.41 | 335 | 1.3 | 137 | <1 | 6.6967 | nr | 398 | nr | 1.1294 | nr | 65 | 35.9 | 132 | 104 | 10.1049 | 1.4772 | 30.4 | nr | 1.1821 | 1161.89 | 2 | 0.71958 | 59 | 785.6831 | 14 | nr | nr | nr | 3.3 | 122.5 | nr | 1.78 | 0.37 | 371 | 2 | 130
EM3010 | 0.03 | 6.76 | 3.6 | 410 | 0.21 | 1.14 | 0.12 | 73.5 | 36.2 | 119 | 113.5 | 9.7 | 1.56 | 34.2 | 14.2 | 1.19 | 1160 | 1.12 | 0.74 | 64.6 | 810 | 15.8 | 100 | 0.22 | 25.9 | 3 | 124.5 | <0.05 | 15400 | 0.43 | 342 | 1.4 | 122 | <1 | 6.9084 | nr | 416 | nr | 1.1222 | nr | 66.5 | 34.6 | 133 | 105 | 10.1049 | 1.5602 | 31.5 | nr | 1.2425 | 1239.3493 | 2 | 0.71217 | 65 | 829.3322 | 13 | nr | nr | nr | 3.8 | 117.5 | nr | 1.81 | 0.35 | 378 | 2.1 | 102
EM3016 | 0.04 | 6.89 | 3.5 | 420 | 0.21 | 1.15 | 0.13 | 75.3 | 36.4 | 118 | 119 | 9.9 | 1.59 | 35.3 | 14.1 | 1.22 | 1195 | 1.14 | 0.75 | 67 | 830 | 15.8 | 100 | 0.24 | 25.9 | 3.1 | 127 | <0.05 | 15550 | 0.42 | 343 | 1.4 | 126 | <1 | 6.9878 | nr | 410 | nr | 1.1365 | nr | 68.7 | 36 | 136 | 105 | 10.2448 | 1.5602 | 32.2 | nr | 1.2545 | 1239.3493 | 2 | 0.71217 | 65 | 829.3322 | 14 | nr | nr | nr | 2.9 | 117.5 | nr | 1.86 | 0.37 | 385 | 2.3 | 111
EM3021 | 0.03 | 6.62 | 3.7 | 410 | 0.24 | 1.13 | 0.12 | 73.7 | 36.1 | 118 | 114 | 9.6 | 1.51 | 34.8 | 14 | 1.18 | 1155 | 1.19 | 0.72 | 64.4 | 800 | 15.7 | 100 | 0.23 | 25.6 | 3.1 | 124.5 | <0.05 | 15200 | 0.42 | 338 | 1.3 | 122 | <1 | 6.9614 | nr | 414 | nr | 1.1437 | nr | 69.5 | 37.5 | 141 | 113 | 10.2448 | 1.5602 | 33.2 | nr | 1.2485 | 1239.3493 | 2 | 0.71958 | 65 | 829.3322 | 14 | nr | nr | nr | 3.1 | 125 | nr | 1.86 | 0.37 | 390 | 2.2 | 121
EM3025 | 0.04 | 6.87 | 3.4 | 420 | 0.21 | 1.16 | 0.13 | 76.3 | 36.9 | 119 | 115 | 10.0 | 1.56 | 35.5 | 14.2 | 1.21 | 1185 | 1.18 | 0.75 | 67.2 | 830 | 16.2 | 100 | 0.24 | 26.7 | 3.2 | 128 | <0.05 | 15700 | 0.42 | 348 | 1.4 | 126 | <1 | 6.7496 | nr | 407 | nr | 1.1294 | nr | 67.1 | 35.7 | 137 | 111 | 10.1049 | 1.5187 | 32.2 | nr | 1.2123 | 1239.3493 | <2 | 0.727 | 64 | 785.6831 | 13 | nr | nr | nr | 3.4 | 118 | nr | 1.83 | 0.34 | 381 | 2 | 119
EM3028 | 0.04 | 6.47 | 3.4 | 400 | 0.21 | 1.11 | 0.11 | 70.6 | 33.9 | 113 | 107 | 9.4 | 1.49 | 33 | 13.5 | 1.15 | 1135 | 1.08 | 0.7 | 63 | 790 | 15.2 | 100 | 0.22 | 24.8 | 2.9 | 120.5 | <0.05 | 14950 | 0.39 | 326 | 1.3 | 118 | <1 | 6.8555 | nr | 411 | nr | 1.1294 | nr | 67.5 | 36 | 137 | 109 | 10.1049 | 1.527 | 32.5 | nr | 1.2244 | 1239.3493 | 2 | 0.70475 | 66 | 785.6831 | 14 | nr | nr | nr | 2.9 | 119 | nr | 1.86 | 0.36 | 390 | 2.2 | 110
EM3030 | 0.04 | 6.76 | 3.6 | 410 | 0.21 | 1.13 | 0.13 | 76.8 | 36.4 | 116 | 114 | 9.7 | 1.53 | 34.5 | 13.8 | 1.17 | 1155 | 1.18 | 0.73 | 65.6 | 800 | 15.8 | 100 | 0.24 | 25.8 | 3.1 | 125 | <0.05 | 15300 | 0.43 | 334 | 1.3 | 122 | <1 | 6.6967 | nr | 398 | nr | 1.1151 | nr | 67.3 | 35.2 | 128 | 108 | 9.9301 | 1.4938 | 31.3 | nr | 1.2002 | 1161.89 | 2 | 0.69733 | 65 | 785.6831 | 14 | nr | nr | nr | 3.3 | 120.5 | nr | 1.83 | 0.31 | 373 | 2 | 112
EM3032 | 0.05 | 6.81 | 3.3 | 420 | 0.21 | 1.17 | 0.12 | 73.8 | 36 | 116 | 115.5 | 9.8 | 1.55 | 34.6 | 14.2 | 1.21 | 1165 | 1.16 | 0.74 | 66.3 | 820 | 16 | 100 | 0.24 | 26 | 3.1 | 125 | <0.05 | 15200 | 0.42 | 338 | 1.4 | 123 | <1 | 6.7761 | nr | 408 | nr | 1.1151 | nr | 68.7 | 36.6 | 135 | 108 | 9.9301 | 1.5104 | 31.9 | nr | 1.2063 | 1161.89 | 2 | 0.70475 | 63 | 785.6831 | 13 | nr | nr | nr | 3.5 | 123 | nr | 1.86 | 0.34 | 391 | 2 | 113
EM3037 | 0.01 | 6.77 | 2.9 | 410 | 0.21 | 1.12 | 0.12 | 71.3 | 36 | 111 | 117 | 9.5 | 1.54 | 32.8 | 13.8 | 1.16 | 1165 | 1.13 | 0.73 | 69.4 | 800 | 15.2 | 100 | 0.24 | 27 | 2.9 | 122 | <0.05 | 15250 | 0.39 | 328 | 1.3 | 120 | <1 | 6.8819 | nr | 416 | nr | 1.1437 | nr | 70.9 | 37.1 | 133 | 114 | 10.3147 | 1.5519 | 33.9 | nr | 1.2425 | 1161.89 | 2 | 0.71958 | 71 | 872.9812 | 14 | nr | nr | nr | 3.8 | 131 | nr | 1.78 | 0.41 | 396 | 2.1 | 113
EM3040 | 0.02 | 6.51 | 3.2 | 390 | 0.21 | 1.13 | 0.14 | 68.4 | 34.1 | 109 | 114 | 9.5 | 1.46 | 31.9 | 13.1 | 1.11 | 1120 | 1.1 | 0.73 | 65.9 | 780 | 15 | 100 | 0.25 | 25.8 | 2.9 | 126 | <0.05 | 14800 | 0.38 | 326 | 1.3 | 118 | <1 | 6.7761 | nr | 392 | nr | 1.158 | nr | 68 | 36.8 | 127 | 116 | 10.2448 | 1.5104 | 32.5 | nr | 1.1942 | 1161.89 | 2 | 0.73442 | 66 | 872.9812 | 13 | nr | nr | nr | 3.4 | 123.5 | nr | 1.73 | 0.38 | 390 | 2 | 108
Average | 0.034 | 6.703 | 3.39 | 409 | 0.213 | 1.138 | 0.132 | 73.14 | 35.84 | 115.3 | 115.2222 |  | 1.53 | 33.97 | 13.84 | 1.1833 | 1158 | 1.141 | 0.732 | 65.94 | 805 | 15.63 | 100 | 0.235 | 25.91 | 3.03 | 124.85 |  | 15235 | 0.411 | 335.8 | 1.34 | 123.4 |  | 6.829 |  | 407 |  | 1.1322 |  | 67.92 | 36.14 | 133.9 | 109.3 | 10.1329 | 1.527 | 32.16 |  | 1.2207 | 1200.6197 | 2 | 0.71513 | 64.9 | 816.2375 | 13.6 |  |  |  | 3.34 | 121.75 |  | 1.82 | 0.36 | 384.5 | 2.09 | 113.9
Standard Deviation | 0.011738 | 0.1496 | 0.2331 | 9.9443 | 0.0094868 | 0.018135 | 0.025298 | 2.6521 | 1.0058 | 3.4657 | 1.7697 |  | 0.038297 | 1.1963 | 0.37476 | 0.025495 | 22.0101 | 0.036347 | 0.014757 | 1.7558 | 17.1594 | 0.38312 | 0 | 0.0097183 | 0.60268 | 0.10593 | 2.2242 |  | 273.912 | 0.01792 | 7.4952 | 0.05164 | 5.5217 |  | 0.10514 |  | 8.3267 |  | 0.013562 |  | 1.6457 | 0.87965 | 4.2544 | 4.111 | 0.13166 | 0.030049 | 0.98229 |  | 0.025303 | 40.8247 | 0 | 0.011169 | 2.9609 | 35.9351 | 0.5164 |  |  |  | 0.31693 | 4.2246 |  | 0.044721 | 0.02708 | 8.3964 | 0.11005 | 7.7524
Count | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 0 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 0 | 0 | 0 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10
95% Confidence Int. | 0.0083968 | 0.10701 | 0.16675 | 7.1137 | 0.0067865 | 0.012973 | 0.018097 | 1.8972 | 0.71948 | 2.4792 | 1.3603 |  | 0.027396 | 0.85581 | 0.26809 | 0.019597 | 15.7451 | 0.026001 | 0.010557 | 1.256 | 12.2751 | 0.27406 | 0 | 0.006952 | 0.43113 | 0.075781 | 1.5911 |  | 195.9448 | 0.012819 | 5.3617 | 0.036941 | 3.95 |  | 0.075211 |  | 5.9565 |  | 0.0097019 |  | 1.1773 | 0.62926 | 3.0434 | 2.9408 | 0.09418 | 0.021496 | 0.70269 |  | 0.018101 | 29.2042 | 0 | 0.0079896 | 2.1181 | 25.7064 | 0.36941 |  |  |  | 0.22672 | 3.0221 |  | 0.031992 | 0.019372 | 6.0064 | 0.078725 | 5.5457
Lab 4
Sample | 4 Acid Digest / ICP | [32 empty] | Lithium Borate Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM4005 | <0.05 | 6.9501 | 3.8 | 410.4 | 0.21 | 1.1688 | 0.13 | 72.87 | 35.8 | 129 | 116 | 10.61 | 1.6063 | 34.15 | 14.3 | 1.2327 | 1220 | 1.3 | 0.7639 | 66 | 859 | 16.2 | 83 | 0.26 | 26.7 | 3.3 | 119.49 | <0.2 | 17010 | 0.48 | 346 | 1.5 | 124 | nr | 6.96 | 4 | 398.2 | 0.22 | 1.16 | 0.42 | 64.2 | 37.7 | 124 | 108 | 10.36 | 1.53 | 30.7 | nr | 1.26 | 1300 | 1 | 0.72 | 67 | 900 | 16 | 0.02 | 0.2 | 26 | 3 | 118.3 | nr | 1.75 | 0.07 | 366 | 1 | 134
EM4010 | <0.05 | 6.9252 | 3.9 | 404.7 | 0.22 | 1.1772 | 0.13 | 73.11 | 36.9 | 130 | 117 | 10.52 | 1.5982 | 33.71 | 13.8 | 1.2298 | 1220 | 1.3 | 0.7572 | 67 | 857 | 16.5 | 84 | 0.32 | 26.7 | 3.3 | 120.17 | <0.2 | 16595 | 0.48 | 357 | 1.6 | 124 | nr | 7.1 | 3.4 | 397 | 0.23 | 1.18 | 0.16 | 65.2 | 37.2 | 129 | 112 | 10.6 | 1.57 | 31.5 | nr | 1.28 | 1300 | 2 | 0.75 | 77 | 900 | 19 | 0.02 | 0.3 | 28 | 3 | 120.1 | nr | 1.79 | 0.07 | 376 | 3 | 135
EM4016 | <0.05 | 6.6106 | 3.9 | 396.5 | 0.22 | 1.1793 | 0.14 | 72.33 | 35.3 | 127 | 114 | 10.49 | 1.5064 | 33.09 | 13.4 | 1.1498 | 1165 | 1.2 | 0.7512 | 64 | 820 | 16.8 | 79 | 0.27 | 25.5 | 3.2 | 124.15 | <0.2 | 16213 | 0.48 | 351 | 1.5 | 120 | nr | 6.68 | 4 | 376.1 | 0.25 | 1.16 | 0.28 | 64.3 | 38.2 | 118 | 107 | 10.28 | 1.45 | 31.2 | nr | 1.19 | 1200 | 1 | 0.72 | 66 | 800 | 18 | 0.01 | 0.3 | 26 | 3 | 127.8 | nr | 1.7 | 0.07 | 360 | 4 | 126
EM4021 | 0.05 | 6.8305 | 3.8 | 407.6 | 0.22 | 1.1674 | 0.19 | 73.57 | 36.4 | 131 | 116 | 10.55 | 1.5752 | 34.24 | 13.6 | 1.2137 | 1209 | 1.3 | 0.7461 | 65 | 840 | 16.6 | 92 | 0.26 | 26.4 | 3.3 | 120.55 | <0.2 | 17071 | 0.5 | 349 | 1.4 | 140 | nr | 6.9 | 4.3 | 396.1 | 0.3 | 1.17 | 0.17 | 66.4 | 37.6 | 126 | 110 | 10.34 | 1.52 | 31.1 | nr | 1.24 | 1200 | 1 | 0.72 | 74 | 900 | 16 | 0.02 | 0.3 | 26 | 4 | 125.7 | nr | 1.74 | 0.05 | 369 | 2 | 150
EM4025 | <0.05 | 6.8786 | 3.9 | 410.5 | 0.21 | 1.1655 | 0.15 | 72.78 | 36.1 | 130 | 116 | 10.56 | 1.5911 | 34.3 | 14 | 1.2254 | 1208 | 1.3 | 0.7499 | 66 | 857 | 16.8 | 85 | 0.28 | 26.5 | 3.4 | 121.27 | <0.2 | 17227 | 0.51 | 335 | 1.5 | 125 | nr | 6.91 | 4.1 | 411.4 | 0.24 | 1.14 | 0.21 | 65.9 | 38.1 | 121 | 116 | 10.21 | 1.52 | 31.2 | nr | 1.25 | 1200 | 1 | 0.7 | 74 | 900 | 15 | 0.02 | 0.4 | 26 | 4 | 124.1 | nr | 1.73 | 0.06 | 375 | 2 | 125
EM4028 | <0.05 | 6.8854 | 3.8 | 404.6 | 0.22 | 1.1662 | 0.14 | 70.91 | 36 | 128 | 115 | 10.52 | 1.5878 | 33.25 | 14.1 | 1.2257 | 1213 | 1.2 | 0.7465 | 64 | 826 | 16.3 | 77 | 0.28 | 26.5 | 3.2 | 117.42 | <0.2 | 16754 | 0.49 | 345 | 1.5 | 124 | nr | 6.97 | 4.2 | 405.9 | 0.21 | 1.15 | 0.35 | 67.8 | 38.1 | 124 | 110 | 10.33 | 1.55 | 32.4 | nr | 1.26 | 1300 | 1 | 0.72 | 68 | 800 | 15 | 0.02 | 0.4 | 27 | 4 | 120.8 | nr | 1.74 | 0.06 | 369 | 2 | 128
EM4030 | <0.05 | 6.9098 | 4 | 410.3 | 0.21 | 1.1575 | 0.15 | 73.94 | 36.9 | 132 | 116 | 10.56 | 1.6001 | 33.97 | 13.9 | 1.231 | 1219 | 1.2 | 0.7559 | 66 | 854 | 16.7 | 96 | 0.28 | 26.6 | 3.3 | 120.53 | <0.2 | 17060 | 0.47 | 338 | 1.4 | 124 | nr | 6.94 | 3.2 | 399.5 | 0.3 | 1.15 | 0.21 | 68.3 | 37 | 120 | 114 | 10.28 | 1.54 | 31.7 | nr | 1.26 | 1200 | 1 | 0.72 | 70 | 800 | 16 | 0.02 | 0.3 | 28 | 4 | 121 | nr | 1.74 | 0.05 | 370 | 1 | 122
EM4032 | <0.05 | 6.8582 | 3.8 | 411.3 | 0.23 | 1.1542 | 0.14 | 73.21 | 36.7 | 130 | 114 | 10.46 | 1.5794 | 34.02 | 13.8 | 1.2186 | 1203 | 1.3 | 0.7429 | 67 | 869 | 16.8 | 84 | 0.26 | 26.4 | 3.4 | 120.34 | <0.2 | 17294 | 0.54 | 363 | 1.4 | 123 | nr | 7.01 | 3.9 | 400.6 | 0.31 | 1.17 | 0.21 | 66.1 | 38.5 | 127 | 108 | 10.44 | 1.54 | 31.9 | nr | 1.27 | 1300 | <1 | 0.72 | 63 | 800 | 16 | 0.01 | 0.4 | 28 | 3 | 119.7 | nr | 1.77 | 0.09 | 368 | <1 | 128
EM4037 | <0.05 | 6.9533 | 4 | 402.4 | 0.23 | 1.1839 | 0.14 | 72.54 | 36.2 | 128 | 116 | 10.61 | 1.6002 | 33.85 | 13.6 | 1.2326 | 1220 | 1.3 | 0.7564 | 66 | 853 | 16.3 | 81 | 0.27 | 26.9 | 3.5 | 120.97 | <0.2 | 16947 | 0.49 | 355 | 1.5 | 124 | nr | 6.75 | 4.6 | 397.6 | 0.28 | 1.13 | 0.12 | 65.8 | 35.9 | 126 | 109 | 10.07 | 1.49 | 30.7 | nr | 1.21 | 1200 | 1 | 0.71 | 60 | 800 | 14 | 0.02 | 0.3 | 26 | 3 | 119.7 | nr | 1.7 | 0.07 | 361 | 1 | 124
EM4040 | <0.05 | 6.8489 | 3.8 | 407.3 | 0.22 | 1.1702 | 0.15 | 73.92 | 35.9 | 130 | 115 | 10.57 | 1.5778 | 34.63 | 13.6 | 1.2106 | 1207 | 1.3 | 0.7435 | 66 | 847 | 16.5 | 79 | 0.26 | 26.5 | 3.4 | 121.47 | <0.2 | 16985 | 0.48 | 344 | 1.6 | 122 | nr | 7.15 | 4.3 | 392 | 0.33 | 1.19 | 0.35 | 71.8 | 36.3 | 132 | 112 | 10.63 | 1.56 | 34.1 | nr | 1.29 | 1300 | 1 | 0.74 | 71 | 900 | 15 | <0.01 | 0.4 | 28 | 3 | 118.8 | nr | 1.8 | 0.06 | 376 | 2 | 126
Average |  | 6.8651 | 3.87 | 406.56 | 0.219 | 1.169 | 0.146 | 72.918 | 36.22 | 129.5 | 115.5 | 10.545 | 1.5822 | 33.921 | 13.81 | 1.217 | 1208.4 | 1.27 | 0.75135 | 65.7 | 848.2 | 16.55 | 84 | 0.274 | 26.47 | 3.33 | 120.636 |  | 16915.6 | 0.492 | 348.3 | 1.49 | 125 |  | 6.937 | 4 | 397.44 | 0.267 | 1.16 | 0.248 | 66.58 | 37.46 | 124.7 | 110.6 | 10.354 | 1.527 | 31.65 |  | 1.251 | 1250 | 1.1111 | 0.722 | 69 | 850 | 15.375 | 0.017778 | 0.33 | 26.9 | 3.4 | 121.6 |  | 1.746 | 0.065 | 369 | 2 | 129.8
Standard Deviation |  | 0.098594 | 0.082327 | 4.6448 | 0.0073786 | 0.0092542 | 0.017127 | 0.89055 | 0.51381 | 1.5092 | 0.97183 | 0.048362 | 0.028701 | 0.47177 | 0.27264 | 0.024869 | 16.5072 | 0.048305 | 0.0068651 | 1.0593 | 15.3391 | 0.2273 | 5.9442 | 0.018379 | 0.37431 | 0.094868 | 1.6845 |  | 320.1417 | 0.02044 | 8.5771 | 0.073786 | 5.4569 |  | 0.14221 | 0.42164 | 9.2392 | 0.042177 | 0.018257 | 0.09773 | 2.2558 | 0.85531 | 4.2439 | 2.8752 | 0.16906 | 0.035292 | 1.0091 |  | 0.030714 | 52.7046 | 0.33333 | 0.013984 | 5.2705 | 52.7046 | 0.74402 | 0.0044096 | 0.067495 | 0.99443 | 0.5164 | 3.1746 |  | 0.0334 | 0.011785 | 5.6765 | 1 | 8.203
Count | 1 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 9 | 10 | 10 | 10 | 8 | 9 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 9 | 10
95% Confidence Int. |  | 0.07053 | 0.058893 | 3.3227 | 0.0052784 | 0.00662 | 0.012252 | 0.63706 | 0.36756 | 1.0796 | 0.6952 | 0.034596 | 0.020531 | 0.33748 | 0.19504 | 0.01779 | 11.8086 | 0.034555 | 0.004911 | 0.75781 | 10.973 | 0.1626 | 4.2522 | 0.013147 | 0.26777 | 0.067865 | 1.205 |  | 229.0156 | 0.014622 | 6.1357 | 0.052784 | 3.9036 |  | 0.10173 | 0.30162 | 6.6093 | 0.030172 | 0.013061 | 0.069912 | 1.6137 | 0.61185 | 3.0359 | 2.0568 | 0.12094 | 0.025247 | 0.72188 |  | 0.021971 | 37.7026 | 0.25622 | 0.010004 | 3.7703 | 37.7026 | 0.62202 | 0.0033895 | 0.048283 | 0.71137 | 0.36941 | 2.2709 |  | 0.023893 | 0.0084306 | 4.0607 | 0.76867 | 5.8681
Lab 5
Sample | 4 Acid Digest / ICP | [32 empty] | Lithium Borate Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM5005 | <0.2 | 6.73 | 4 | 440 | 0.2 | 1.17 | <0.5 | 75.4 | 38 | 130 | 116 | 10.5 | 1.55 | 34 | 10.0 | 1.25 | 1320 | 1 | 0.77 | 74 | 850 | 16 | 200 | 0.3 | 28 | 2.8 | 125 | <0.2 | 16200 | 0.4 | 365 | 1 | 132 | nr | 6.78 | nr | 430 | <3 | 1.15 | nr | 77.5 | 40 | 160 | nr | 10.5 | 1.59 | 35 | nr | 1.29 | 1200 | <2 | 0.74 | nr | 1000 | nr | nr | <1 | 30 | <10 | 130 | <5 | 1.72 | <3 | 380 | <3 | nr
EM5010 | <0.2 | 6.62 | 4 | 436 | 0.3 | 1.15 | <0.5 | 77.1 | 38 | 130 | 114 | 10.1 | 1.43 | 34.6 | 10.0 | 1.22 | 1230 | 1.5 | 0.73 | 72 | 800 | 16 | 200 | <0.1 | 28 | 3 | 123 | <0.2 | 15200 | 0.4 | 370 | 1 | 130 | nr | 6.82 | nr | 430 | <3 | 1.16 | nr | 75.5 | 40 | 160 | nr | 10.5 | 1.58 | 36 | nr | 1.31 | 1200 | <2 | 0.73 | nr | 1000 | nr | nr | <1 | 30 | <10 | 135 | <5 | 1.75 | <3 | 380 | <3 | nr
EM5016 | <0.2 | 6.64 | 4 | 442 | 0.2 | 1.15 | <0.5 | 77.2 | 36 | 130 | 116 | 10.2 | 1.45 | 32.8 | 10.0 | 1.23 | 1210 | 1 | 0.74 | 76 | 800 | 15 | 200 | <0.1 | 28 | 2.9 | 122 | <0.2 | 15100 | 0.4 | 355 | 1 | 132 | nr | 6.75 | nr | 440 | <3 | 1.17 | nr | 76 | 40 | 160 | nr | 10.5 | 1.56 | 37 | nr | 1.32 | 1250 | <2 | 0.73 | nr | 950 | nr | nr | <1 | 30 | <10 | 140 | <5 | 1.77 | <3 | 380 | <3 | nr
EM5021 | <0.2 | 6.61 | 4 | 434 | 0.2 | 1.14 | <0.5 | 78 | 37 | 130 | 116 | 10.2 | 1.4 | 34.3 | 10.0 | 1.23 | 1200 | 1 | 0.73 | 76 | 800 | 16 | 150 | <0.1 | 28 | 3.1 | 125 | <0.2 | 14700 | 0.4 | 360 | 1 | 128 | nr | 6.85 | nr | 430 | <3 | 1.17 | nr | 76.5 | 40 | 160 | nr | 10.8 | 1.55 | 36 | nr | 1.3 | 1200 | <2 | 0.74 | nr | 850 | nr | nr | <1 | 30 | <10 | 140 | <5 | 1.76 | <3 | 360 | <3 | nr
EM5025 | <0.2 | 6.75 | 4 | 440 | 0.2 | 1.16 | <0.5 | 76.8 | 37 | 130 | 116 | 10.1 | 1.46 | 33.8 | 10.0 | 1.25 | 1230 | 1.5 | 0.76 | 74 | 850 | 16 | 150 | <0.1 | 29 | 3 | 128 | <0.2 | 15500 | 0.4 | 365 | 1 | 130 | nr | 6.79 | nr | 440 | <3 | 1.15 | nr | 75.5 | 40 | 160 | nr | 10.5 | 1.53 | 36 | nr | 1.28 | 1200 | <2 | 0.72 | nr | 900 | nr | nr | <1 | 30 | <10 | 130 | <5 | 1.71 | <3 | 380 | <3 | nr
EM5028 | <0.2 | 6.62 | 4 | 432 | 0.2 | 1.14 | <0.5 | 77 | 37 | 130 | 116 | 10.2 | 1.44 | 34.6 | 10.0 | 1.22 | 1180 | 1 | 0.75 | 78 | 800 | 16 | 200 | <0.1 | 29 | 3 | 129 | <0.2 | 14500 | 0.4 | 355 | 1 | 132 | nr | 6.7 | nr | 440 | <3 | 1.13 | nr | 73.5 | 40 | 160 | nr | 10.4 | 1.55 | 36 | nr | 1.28 | 1200 | <2 | 0.72 | nr | 950 | nr | nr | <1 | 30 | <10 | 140 | <5 | 1.73 | <3 | 360 | <3 | nr
EM5030 | <0.2 | 6.73 | 4 | 436 | 0.2 | 1.17 | <0.5 | 76 | 37 | 130 | 112 | 10.4 | 1.57 | 36.9 | 10.0 | 1.26 | 1240 | 1.5 | 0.81 | 74 | 850 | 16 | 200 | 0.2 | 28 | 3 | 124 | <0.2 | 15100 | 0.4 | 385 | 1.5 | 122 | nr | 6.76 | nr | 430 | <3 | 1.16 | nr | 75 | 40 | 160 | nr | 10.6 | 1.58 | 35 | nr | 1.32 | 1250 | <2 | 0.73 | nr | 1000 | nr | nr | <1 | 30 | <10 | 135 | <5 | 1.73 | <3 | 380 | <3 | nr
EM5032 | <0.2 | 6.62 | 3 | 430 | 0.2 | 1.11 | <0.5 | 76 | 37 | 130 | 114 | 9.99 | 1.38 | 33.1 | 10.0 | 1.29 | 1160 | 1 | 0.73 | 72 | 750 | 15 | 200 | <0.1 | 28 | 2.8 | 128 | <0.2 | 14500 | 0.3 | 340 | 1 | 122 | nr | 6.83 | nr | 430 | <3 | 1.16 | nr | 77 | 40 | 160 | nr | 10.7 | 1.57 | 36 | nr | 1.33 | 1200 | <2 | 0.73 | nr | 950 | nr | nr | <1 | 30 | <10 | 140 | <5 | 1.77 | <3 | 380 | <3 | nr
EM5037 | <0.2 | 6.66 | 3 | 440 | 0.2 | 1.14 | <0.5 | 78.9 | 36 | 120 | 114 | 10.2 | 1.42 | 32.6 | 10.0 | 1.2 | 1170 | 1 | 0.75 | 74 | 800 | 16 | 200 | <0.1 | 28 | 2.9 | 122 | <0.2 | 14200 | 0.4 | 355 | 1 | 124 | nr | 6.75 | nr | 440 | <3 | 1.17 | nr | 75.5 | 40 | 160 | nr | 10.7 | 1.58 | 36 | nr | 1.33 | 1250 | <2 | 0.74 | nr | 1050 | nr | nr | <1 | 30 | <10 | 130 | <5 | 1.75 | <3 | 380 | <3 | nr
EM5040 | <0.2 | 6.65 | 4 | 436 | 0.2 | 1.14 | <0.5 | 76.6 | 38 | 130 | 118 | 10.2 | 1.44 | 33.8 | 10.0 | 1.22 | 1180 | 1.5 | 0.74 | 74 | 800 | 15 | 200 | 0.2 | 29 | 2.9 | 125 | <0.2 | 15400 | 0.4 | 365 | 1 | 128 | nr | 6.74 | nr | 440 | <3 | 1.14 | nr | 76 | 40 | 160 | nr | 10.5 | 1.56 | 37 | nr | 1.33 | 1250 | <2 | 0.74 | nr | 1050 | nr | nr | <1 | 30 | <10 | 140 | <5 | 1.72 | <3 | 380 | <3 | nr
Average |  | 6.663 | 3.8 | 436.6 | 0.2 | 1.147 |  | 76.9 | 37.1 | 129 | 115.2 | 10.209 | 1.454 | 34.05 |  | 1.237 | 1212 | 1.2 | 0.751 | 74.4 | 810 | 15.7 | 190 | 0.23333 | 28.3 | 2.94 | 125.1 |  | 15040 | 0.39 | 361.5 | 1.05 | 128 |  | 6.777 |  | 435 |  | 1.156 |  | 75.8 | 40 | 160 |  | 10.57 | 1.565 | 36 |  | 1.309 | 1220 |  | 0.732 | [5 empty] | 30 |  | 136 |  | 1.741 |  | 376
Standard Deviation |  | 0.053344 | 0.42164 | 3.893 | 2.9439e-17 | 0.01767 |  | 1.0176 | 0.73786 | 3.1623 | 1.6865 | 0.14655 | 0.060773 | 1.2241 |  | 0.025841 | 46.8568 | 0.2582 | 0.024698 | 1.8379 | 31.6228 | 0.48305 | 21.0819 | 0.057735 | 0.48305 | 0.096609 | 2.5144 |  | 589.1614 | 0.031623 | 11.7969 | 0.15811 | 4 |  | 0.0462 |  | 5.2705 |  | 0.013499 |  | 1.1106 | 0 | 0 |  | 0.12517 | 0.018409 | 0.66667 |  | 0.020248 | 25.8199 |  | 0.0078881 | [5 empty] | 0 |  | 4.5947 |  | 0.021833 |  | 8.4327
Count | 0 | 10 | 10 | 10 | 9 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 3 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 10 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 0
95% Confidence Int. |  | 0.03816 | 0.30162 | 2.7849 | 2.2629e-17 | 0.01264 |  | 0.72796 | 0.52784 | 2.2622 | 1.2065 | 0.10483 | 0.043474 | 0.87564 |  | 0.018486 | 33.5193 | 0.1847 | 0.017668 | 1.3147 | 22.6216 | 0.34555 | 15.081 | 0.14342 | 0.34555 | 0.06911 | 1.7987 |  | 421.4606 | 0.022622 | 8.439 | 0.11311 | 2.8614 |  | 0.03305 |  | 3.7703 |  | 0.0096566 |  | 0.79444 | 0 | 0 |  | 0.089539 | 0.013169 | 0.4769 |  | 0.014485 | 18.4704 |  | 0.0056428 | [5 empty] | 0 |  | 3.2868 |  | 0.015618 |  | 6.0324
Lab 6
Sample | 4 Acid Digest / ICP | [32 empty] | Sodium Peroxide Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM6005 | 0.7 | 6.809 | 18 | 420 | 0.2 | 1.105 | <0.5 | 71.4 | 45.0 | 130 | 120 | 10.21 | 1.565 | 32.9 | 13 | 1.2725 | 1240 | 1 | 0.74 | 65 | 895 | 15 | 100 | <0.5 | 28 | 3.5 | 115 | 0.2 | 16770 | 0.5 | 365 | 1.5 | 130 | nr | 7.07 | <50 | 420 | <0.5 | 1.2 | <1 | 72 | <50 | 150 | 100 | 10.45 | 1.6 | 34 | 20 | 1.25 | 1250 | <5 | nr | 50 | 800 | <50 | <0.01 | <1 | 30 | 2 | 120 | <0.5 | 1.77 | 0.5 | 400 | <10 | 150
EM6010 | 0.7 | 6.869 | 18 | 415 | 0.2 | 1.091 | <0.5 | 76 | 40 | 140 | 115 | 10.135 | 1.565 | 34.5 | 14 | 1.269 | 1220 | 1 | 0.745 | 60 | 855 | 15 | 50 | <0.5 | 26 | 3.5 | 114 | 0.1 | 16710 | 0.45 | 360 | 1.5 | 130 | nr | 7.09 | <50 | 420 | <0.5 | 1.2 | <1 | 71 | 50 | 150 | 150 | 10.51 | 1.6 | 35 | 20 | 1.25 | 1240 | <5 | nr | 100 | 900 | <50 | <0.01 | <1 | 30 | 3 | 120 | <0.5 | 1.78 | 0.4 | 500 | <10 | 150
EM6016 | 0.7 | 7.123 | 20 | 415 | 0.2 | 1.129 | <0.5 | 78 | 40 | 130 | 120 | 10.405 | 1.55 | 35.6 | 13 | 1.2685 | 1250 | 1 | 0.74 | 60 | 860 | 15 | 50 | <0.5 | 27 | 3.5 | 118 | 0.1 | 16620 | 0.5 | 370 | 1.5 | 130 | nr | 6.96 | <50 | 410 | <0.5 | 1.1 | <1 | 70 | <50 | 150 | 100 | 10.23 | 1.5 | 32 | 20 | 1.25 | 1220 | <5 | nr | 50 | 800 | <50 | <0.01 | 1 | 30 | 3 | 110 | 1 | 1.74 | 0.5 | 350 | <10 | 150
EM6021 | 0.8 | 6.773 | 23 | 425 | 0.2 | 1.09 | <0.5 | 74.2 | 40 | 140 | 115 | 10.12 | 1.57 | 33.7 | 14 | 1.2645 | 1215 | 1 | 0.745 | 60 | 855 | 17 | <50 | <0.5 | 28 | 3.5 | 116 | 0.3 | 16480 | 0.5 | 365 | 1.5 | 130 | nr | 7.13 | <50 | 420 | <0.5 | 1.2 | <1 | 71 | <50 | 150 | 100 | 10.51 | 1.5 | 34 | 20 | 1.26 | 1250 | <5 | nr | 50 | 800 | <50 | <0.01 | <1 | 30 | 2 | 120 | 1.5 | 1.78 | 0.4 | 400 | <10 | 150
EM6025 | 1 | 7.019 | 17 | 410 | 0.2 | 1.128 | <0.5 | 76.1 | 45.0 | 140 | 115 | 10.305 | 1.535 | 35 | 14 | 1.2415 | 1220 | 1 | 0.74 | 65 | 865 | 15 | 50 | <0.5 | 28 | 3.5 | 125 | 0.3 | 16950 | 0.4 | 365 | 1.5 | 130 | nr | 7.01 | <50 | 430 | <0.5 | 1.1 | <1 | 73 | <50 | 150 | 100 | 10.63 | 1.6 | 32 | 20 | 1.28 | 1200 | <5 | nr | 100 | 900 | <50 | <0.01 | 2 | 30 | 3 | 120 | <0.5 | 1.8 | 0.5 | 400 | <10 | 150
EM6028 | 0.7 | 7.128 | 18 | 420 | 0.2 | 1.152 | <0.5 | 76.3 | 35 | 140 | 115 | 10.47 | 1.54 | 35.2 | 16.0 | 1.25 | 1225 | 1 | 0.73 | 65 | 860 | 15 | 50 | <0.5 | 28 | 3.5 | 126 | <0.1 | 16520 | 0.45 | 370 | 1.5 | 130 | nr | 7.13 | <50 | 430 | <0.5 | 1.1 | <1 | 71 | <50 | 150 | 100 | 10.72 | 1.6 | 32 | 20 | 1.28 | 1220 | <5 | nr | <50 | 800 | <50 | <0.01 | <1 | 30 | 5 | 120 | 1.5 | 1.81 | 0.5 | 400 | <10 | 150
EM6030 | 0.7 | 7.121 | 19 | 420 | 0.2 | 1.138 | <0.5 | 76 | 45.0 | 140 | 120 | 10.625 | 1.56 | 34.8 | 17.0 | 1.2645 | 1240 | 1 | 0.755 | 65 | 850 | 15 | 100 | <0.5 | 29 | 3.5 | 127 | <0.1 | 16690 | 0.45 | 375 | 1.5 | 130 | nr | 6.96 | <50 | 430 | <0.5 | 1.1 | <1 | 71 | <50 | 150 | 100 | 10.59 | 1.6 | 31 | 20 | 1.26 | 1200 | <5 | nr | <50 | 800 | <50 | <0.01 | <1 | 30 | 3 | 120 | 0.5 | 1.78 | 0.4 | 350 | <10 | 150
EM6032 | 0.7 | 7.013 | 20 | 415 | 0.2 | 1.118 | <0.5 | 75.2 | 40 | 140 | 115 | 10.28 | 1.52 | 33.9 | 15 | 1.252 | 1215 | 1 | 0.73 | 60 | 845 | 15 | <50 | <0.5 | 28 | 3.5 | 123 | 0.1 | 17020 | 0.5 | 365 | 1.5 | 130 | nr | 6.94 | <50 | 420 | <0.5 | 1.1 | <1 | 71 | <50 | 150 | 100 | 10.69 | 1.6 | 31 | 20 | 1.26 | 1190 | <5 | nr | 50 | 900 | <50 | <0.01 | <1 | 30 | 3 | 120 | 1.5 | 1.8 | 0.4 | 400 | <10 | 150
EM6037 | 0.7 | 7.106 | 18 | 425 | 0.2 | 1.129 | <0.5 | 76.4 | 35 | 140 | 115 | 10.39 | 1.55 | 34.4 | 15 | 1.2475 | 1230 | 1 | 0.725 | 65 | 855 | 15 | 100 | <0.5 | 28 | 3.5 | 123 | <0.1 | 16560 | 0.45 | 370 | 1.5 | 130 | nr | 7.07 | <50 | 430 | <0.5 | 1.1 | <1 | 74 | <50 | 150 | 150 | 10.6 | 1.6 | 32 | 20 | 1.28 | 1220 | <5 | nr | 50 | 900 | <50 | <0.01 | 1 | 30 | 3 | 120 | <0.5 | 1.78 | 0.4 | 400 | <10 | 150
EM6040 | 0.7 | 7.021 | 16 | 425 | 0.2 | 1.157 | <0.5 | 78.5 | 40 | 140 | 120 | 10.59 | 1.57 | 36.3 | 14 | 1.2645 | 1230 | 1 | 0.745 | 65 | 865 | 16 | 100 | <0.5 | 29 | 3.5 | 126 | 0.2 | 16720 | 0.5 | 365 | 1.5 | 130 | nr | 7.13 | <50 | 430 | <0.5 | 1.1 | <1 | 73 | <50 | 150 | 100 | 10.42 | 1.6 | 31 | 20 | 1.28 | 1220 | <5 | nr | 100 | 900 | <50 | 0.01 | <1 | 30 | 4 | 120 | 1 | 1.82 | 0.4 | 400 | <10 | 150
Average | 0.74 | 6.9982 |  | 419 | 0.2 | 1.1237 |  | 75.81 | 38.5714 | 138 | 117 | 10.353 | 1.5525 | 34.63 | 14 | 1.2595 | 1228.5 | 1 | 0.7395 | 63 | 860.5 | 15.3 | 75 |  | 27.9 | 3.5 | 121.3 | 0.18571 | 16704 | 0.47 | 367 | 1.5 | 130 |  | 7.049 |  | 424 |  | 1.13 |  | 71.7 |  | 150 | 100 | 10.535 | 1.58 | 32.4 | 20 | 1.265 | 1221 |  |  | 68.75 | 850 |  |  | 1.3333 | 30 | 3.1 | 119 | 1.1667 | 1.786 | 0.44 | 388.8889 |  | 150
Standard Deviation | 0.096609 | 0.13478 |  | 5.164 | 2.9257e-17 | 0.023036 |  | 1.9773 | 2.4398 | 4.2164 | 2.582 | 0.17569 | 0.016708 | 0.98212 | 0.75593 | 0.010696 | 11.7969 | 0 | 0.0089598 | 2.582 | 13.6321 | 0.67495 | 26.7261 |  | 0.8756 | 0 | 5.0343 | 0.089974 | 175.4486 | 0.03496 | 4.2164 | 0 | 0 |  | 0.075638 |  | 6.9921 |  | 0.048305 |  | 1.2517 |  | 0 | 0 | 0.14501 | 0.042164 | 1.4298 | 0 | 0.01354 | 20.79 |  |  | 25.8775 | 52.7046 |  |  | 0.57735 | 0 | 0.8756 | 3.1623 | 0.40825 | 0.022706 | 0.05164 | 22.0479 |  | 0
Count | 10 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 7 | 10 | 10 | 10 | 10 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 8 | 0 | 10 | 10 | 10 | 7 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 0 | 8 | 10 | 0 | 1 | 3 | 10 | 10 | 10 | 6 | 10 | 10 | 9 | 0 | 10
95% Confidence Int. | 0.06911 | 0.096418 |  | 3.6941 | 2.0929e-17 | 0.016479 |  | 1.4145 | 2.2564 | 3.0162 | 1.847 | 0.12568 | 0.011952 | 0.70256 | 0.63197 | 0.0076518 | 8.439 | 0 | 0.0064094 | 1.847 | 9.7518 | 0.48283 | 22.3436 |  | 0.62636 | 0 | 3.6013 | 0.083212 | 125.5084 | 0.025009 | 3.0162 | 0 | 0 |  | 0.054108 |  | 5.0018 |  | 0.034555 |  | 0.89539 |  | 0 | 0 | 0.10373 | 0.030162 | 1.0228 | 0 | 0.009686 | 14.8722 |  |  | 21.6341 | 37.7026 |  |  | 1.4342 | 0 | 0.62636 | 2.2622 | 0.42843 | 0.016243 | 0.036941 | 16.9475 |  | 0
GV-10 - Overall Control Statistics
Analyte/Method | 4 Acid Digest / ICP | [32 empty] | Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
Average | 0.27125 | 6.8704 | 3.972 | 420.1509 | 0.20218 | 1.1586 | 0.14775 | 74.95 | 37.0123 | 126.16 | 115.7959 | 10.402 | 1.5595 | 34.4747 | 13.9958 | 1.2244 | 1218 | 1.1561 | 0.75679 | 67.4567 | 810.1167 | 15.8593 | 118.1034 | 0.24 | 26.816 | 3.2233 | 123.431 | 0.18571 | 16079.4333 | 0.44967 | 351.7966 | 1.396 | 126.1333 | 5 | 6.8648 | 4 | 411.9233 | 0.2385 | 1.1573 | 0.248 | 71.0033 | 37.3958 | 139.0333 | 109.4211 | 10.3458 | 1.5562 | 33.395 | 17.2333 | 1.251 | 1219.7033 | 1.619 | 0.72304 | 69.4359 | 827.2475 | 14.75 | 0.014444 | 0.66 | 27.98 | 3.28 | 127.3583 | 1.1429 | 1.7633 | 0.33625 | 372.7143 | 3.1261 | 135.7
95% Confidence Int. |  | 0.050279 | 0.26437 | 4.2843 | 0.0037765 | 0.0084683 | 0.010778 | 0.68726 | 0.35308 | 2.6169 | 0.53329 | 0.050284 | 0.017353 | 0.32206 | 0.18979 | 0.0083269 | 11.6756 | 0.048065 | 0.006401 | 1.5325 | 11.1788 | 0.17926 |  | 0.010339 | 0.35516 | 0.079496 | 0.96776 |  | 236.0816 | 0.014252 | 4.3799 | 0.061562 | 1.4129 |  | 0.049609 |  | 4.021 |  | 0.0096871 |  | 1.0172 | 0.70434 | 4.2346 | 2.1145 | 0.054911 | 0.011377 | 0.48428 | 1.2077 | 0.0096519 | 9.7661 |  | 0.0048446 | 4.1658 | 16.0939 |  |  |  | 0.80688 | 0.2269 | 2.1642 |  | 0.01154 | 0.053797 | 5.3261 |  | 5.1134
Average Lab Std Dev |  | 0.11948 | 0.36968 | 8.0118 | 0.0052705 | 0.022089 | 0.031096 | 1.7777 | 1.1782 | 4.3934 | 1.803 | 0.13887 | 0.034914 | 1.1004 | 0.53709 | 0.021455 | 27.134 | 0.12721 | 0.01452 | 1.9184 | 22.1318 | 0.45021 |  | 0.030221 | 0.59684 | 0.1633 | 3.3266 |  | 391.4187 | 0.025276 | 9.9547 | 0.10088 | 4.7461 |  | 0.17911 |  | 8.1867 |  | 0.030367 |  | 1.5233 | 0.60458 | 11.3883 | 3.2804 | 0.14483 | 0.037856 | 0.93416 | 2.0412 | 0.022432 | 36.0802 |  | 0.011292 | 13.3423 | 55.3016 |  |  |  | 0.53541 | 0.61476 | 3.7573 |  | 0.029932 | 0.036458 | 11.8182 |  | 12.2239
Overall Std Dev |  | 0.18775 | 0.93023 | 16.1468 | 0.01397 | 0.032495 | 0.033702 | 2.6138 | 1.3307 | 9.2082 | 1.8566 | 0.17694 | 0.067173 | 1.2467 | 0.65362 | 0.031952 | 45.1967 | 0.18444 | 0.024779 | 5.9325 | 43.2737 | 0.68785 |  | 0.033594 | 1.2497 | 0.30773 | 3.7462 |  | 913.8851 | 0.055172 | 16.807 | 0.21662 | 5.4694 |  | 0.18867 |  | 15.5655 |  | 0.037172 |  | 3.9377 | 2.4257 | 16.3924 | 6.4332 | 0.21256 | 0.042083 | 1.8747 | 3.2343 | 0.037363 | 37.8052 |  | 0.012974 | 12.851 | 56.6293 |  |  |  | 2.8392 | 0.60765 | 8.3776 |  | 0.044671 | 0.16821 | 18.5427 |  | 17.9923
Relative Std Dev |  | 2.733% | 23.42% | 3.843% | 6.909% | 2.805% | 22.81% | 3.487% | 3.595% | 7.299% | 1.603% | 1.701% | 4.307% | 3.616% | 4.67% | 2.61% | 3.711% | 15.95% | 3.274% | 8.795% | 5.342% | 4.337% |  | 14% | 4.66% | 9.547% | 3.035% |  | 5.684% | 12.27% | 4.777% | 15.52% | 4.336% |  | 2.748% |  | 3.779% |  | 3.212% |  | 5.546% | 6.486% | 11.79% | 5.879% | 2.055% | 2.704% | 5.614% | 18.77% | 2.987% | 3.1% |  | 1.794% | 18.51% | 6.846% |  |  |  | 10.15% | 18.53% | 6.578% |  | 2.533% | 50.03% | 4.975% |  | 13.26%
Count |  | 56 | 50 | 57 | 55 | 59 | 40 | 58 | 57 | 50 | 49 | 50 | 60 | 60 | 48 | 59 | 60 | 59 | 60 | 60 | 60 | 59 |  | 43 | 50 | 60 | 60 |  | 60 | 60 | 59 | 50 | 60 |  | 58 |  | 60 |  | 59 |  | 60 | 48 | 60 | 38 | 60 | 55 | 60 | 30 | 60 | 60 |  | 30 | 39 | 50 |  |  |  | 50 | 30 | 60 |  | 60 | 40 | 49 |  | 50