## GV-12
GV-12
Lab 1
Sample | 4 Acid Digest / ICP | [32 empty] | Sodium Peroxide Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM1001 | <0.2 | 5.85 | 1 | 207 | 0.1 | 0.86 | 0.2 | 78.3 | 54 | 160 | 160 | 16.9 | 0.63 | 36.1 | 14.2 | 0.84 | 1300 | 0.4 | 0.4 | 90 | 350 | 12 | 100 | 0.2 | 40 | 2.5 | 49 | <0.2 | 20900 | 0.15 | 400 | 0.4 | 182 | <5 | 5.2 | <10 | 210 | <1 | 0.8 | <10 | 77 | 100 | 200 | 150 | 16.4 | 0.7 | 35.5 | 13 | 0.81 | 1310 | <5 |  | <50 | 900 | <20 | 0.01 | 2 | 40 | <10 | 54 | <1 | 5.28 | <2 | 700 | <5 | 150
EM1003 | <0.2 | 5.74 | 1 | 205 | 0.1 | 0.84 | 0.2 | 77.7 | 52.5 | 160 | 140 | 16.6 | 0.62 | 35.7 | 14 | 0.82 | 1300 | 0.6 | 0.39 | 88 | 400 | 13 | 100 | 0.1 | 39 | 2.5 | 48 | <0.2 | 21400 | 0.15 | 410 | 0.4 | 172 | <5 | 5.09 | <10 | 210 | <1 | 0.9 | <10 | 77.5 | 80 | 200 | 150 | 16.4 | 0.7 | 35.5 | 14 | 0.8 | 1280 | <5 |  | <50 | 900 | <20 | <0.01 | 2 | 40 | <10 | 57 | <1 | 5.25 | <2 | 700 | <5 | 150
EM1007 | <0.2 | 5.8 | 1 | 209 | 0.1 | 0.85 | 0.1 | 78.8 | 52.5 | 170 | 157 | 16.8 | 0.63 | 36.1 | 14 | 0.83 | 1300 | 0.4 | 0.39 | 94 | 150 | 12 | 100 | <0.1 | 40 | 2.5 | 48.5 | <0.2 | 21300 | 0.15 | 420 | 0.4 | 174 | <5 | 5.08 | <10 | 220 | <1 | 0.8 | <10 | 77.5 | 80 | 200 | 150 | 16.1 | 0.7 | 36 | 12 | 0.8 | 1280 | <5 |  | <50 | 900 | <20 | <0.01 | <2 | 40 | <10 | 57 | <1 | 5.11 | <2 | 700 | <5 | 150
EM1011 | <0.2 | 5.79 | 1 | 212 | 0.1 | 0.84 | 0.2 | 79.7 | 51.5 | 170 | 141 | 16.6 | 0.62 | 36.6 | 13.4 | 0.83 | 1300 | 0.4 | 0.39 | 94 | 450 | 12 | 100 | 0.1 | 40 | 2.5 | 48 | <0.2 | 20500 | 0.15 | 395 | 0.4 | 172 | 5 | 5.26 | <10 | 220 | <1 | 0.9 | <10 | 78 | 80 | 200 | 200 | 17.1 | 0.7 | 36 | 13 | 0.83 | 1350 | <5 |  | <50 | 1000 | <20 | 0.01 | <2 | 40 | <10 | 56 | <1 | 5.41 | <2 | 700 | <5 | 200
EM1017 | <0.2 | 5.81 | <1 | 210 | 0.1 | 0.83 | 0.1 | 78.9 | 55.5 | 180 | 159 | 17 | 0.62 | 36.3 | 14.2 | 0.83 | 1340 | 0.2 | 0.39 | 102 | 350 | 12 | 100 | 0.1 | 40 | 2.5 | 48 | <0.2 | 24900 | 0.15 | 470 | 0.2 | 182 | <5 | 5.28 | <10 | 220 | <1 | 0.9 | <10 | 78.5 | 80 | 200 | 200 | 16.9 | 0.7 | 37 | 13 | 0.84 | 1350 | <5 |  | <50 | 900 | <20 | <0.01 | <2 | 50 | <10 | 56 | <1 | 5.48 | <2 | 700 | <5 | 200
EM1022 | <0.2 | 5.89 | 1 | 213 | 0.1 | 0.86 | 0.2 | 79.8 | 50.5 | 170 | 136 | 17.1 | 0.64 | 36.9 | 13.4 | 0.84 | 1370 | 0.4 | 0.4 | 96 | 500 | 12 | 100 | 0.1 | 41 | 2.5 | 49.5 | <0.2 | 22200 | 0.15 | 420 | 0.2 | 174 | 10 | 5.61 | <10 | 220 | <1 | 1.1 | <10 | 77.5 | 80 | 250 | 200 | 17.6 | 0.7 | 36 | 14 | 0.88 | 1400 | <5 |  | <50 | 1000 | <20 | 0.02 | <2 | 50 | <10 | 57 | <1 | 5.74 | <2 | 750 | <5 | 250
EM1026 | <0.2 | 5.83 | 1 | 211 | 0.1 | 0.85 | 0.1 | 79.8 | 52.5 | 170 | 142 | 16.8 | 0.63 | 36.4 | 14 | 0.83 | 1300 | 0.6 | 0.4 | 98 | 300 | 12 | 100 | 0.1 | 40 | 2.5 | 50 | <0.2 | 22000 | 0.15 | 410 | 0.2 | 174 | 5 | 5.68 | <10 | 220 | <1 | 0.8 | <10 | 79 | 100 | 250 | 200 | 16.2 | 0.7 | 36 | 13 | 0.81 | 1360 | <5 |  | 100 | 1000 | <20 | <0.01 | <2 | 40 | <10 | 57 | <1 | 5.15 | <2 | 700 | <5 | 200
EM1033 | 0.2 | 5.9 | <1 | 218 | 0.1 | 0.87 | 0.1 | 80.7 | 54 | 180 | 150 | 17.1 | 0.65 | 37.5 | 14.4 | 0.86 | 1310 | 0.4 | 0.4 | 96 | 350 | 12 | 100 | 0.1 | 40 | 3 | 50 | <0.2 | 26700 | 0.15 | 500 | <0.2 | 180 | <5 | 5.84 | <10 | 220 | <1 | 0.8 | <10 | 79 | 100 | 250 | 200 | 16.4 | 0.7 | 36.5 | 13 | 0.82 | 1380 | <5 |  | 100 | 1000 | <20 | 0.01 | <2 | 50 | <10 | 59 | <1 | 5.27 | <2 | 750 | <5 | 200
EM1042 | <0.2 | 5.59 | <1 | 207 | 0.1 | 0.82 | 0.1 | 77.5 | 52.5 | 160 | 149 | 16.4 | 0.61 | 34.7 | 12.6 | 0.81 | 1240 | 0.4 | 0.38 | 88 | 350 | 11 | 100 | 0.1 | 39 | 2.5 | 48 | <0.2 | 23600 | 0.15 | 445 | <0.2 | 172 | <5 | 5.65 | <10 | 220 | <1 | 0.8 | <10 | 79 | 100 | 200 | 200 | 16.9 | 0.7 | 36 | 12 | 0.84 | 1410 | <5 |  | <50 | 1000 | <20 | <0.01 | <2 | 50 | <10 | 53 | <1 | 5.34 | <2 | 750 | <5 | 200
EM1044 | <0.2 | 5.91 | <1 | 212 | 0.1 | 0.86 | 0.1 | 81.9 | 54.5 | 170 | 158 | 17.2 | 0.63 | 37.1 | 13.4 | 0.85 | 1210 | 0.2 | 0.4 | 98 | 250 | 12 | 100 | 0.1 | 41 | 2.5 | 48.5 | <0.2 | 24300 | 0.15 | 510 | <0.2 | 184 | <5 | 5.78 | <10 | 220 | <1 | 0.9 | <10 | 78.5 | 100 | 250 | 200 | 17.1 | 0.7 | 36.5 | 16 | 0.85 | 1410 | <5 |  | <50 | 900 | <20 | <0.01 | <2 | 50 | <10 | 58 | <1 | 5.39 | <2 | 750 | <5 | 200
Average |  | 5.811 | 1 | 210.4 | 0.1 | 0.848 | 0.14 | 79.31 | 53 | 169 | 149.2 | 16.85 | 0.628 | 36.34 | 13.76 | 0.834 | 1297 | 0.4 | 0.394 | 94.4 | 345 | 11.8889 | 100 | 0.11111 | 40 | 2.55 | 48.75 |  | 22780 | 0.15 | 438 |  | 176.6 | 6.6667 | 5.5375 |  | 218 |  | 0.84444 |  | 78.15 |  | 220 | 185 | 16.71 | 0.7 | 36.1 | 13.3 | 0.828 | 1353 |  |  | 100 | 950 |  | 0.0125 | 2 | 45 |  | 56.4 |  | 5.342 |  |  |  | 183.3333
Standard Deviation |  | 0.094452 | 0 | 3.7178 | 1.4628e-17 | 0.015492 | 0.05164 | 1.3577 | 1.4907 | 7.3786 | 9.0037 | 0.25927 | 0.011353 | 0.78344 | 0.54813 | 0.014298 | 44.9815 | 0.13333 | 0.0069921 | 4.5995 | 98.4604 | 0.33333 | 0 | 0.033333 | 0.66667 | 0.15811 | 0.82496 |  | 2017.0385 | 2.9257e-17 | 41.6467 |  | 4.812 | 2.8868 | 0.25235 |  | 4.2164 |  | 0.052705 |  | 0.74722 |  | 25.8199 | 24.1523 | 0.48178 | 1.1703e-16 | 0.45947 | 1.1595 | 0.025298 | 49.4526 |  |  | 0 | 52.7046 |  | 0.005 | 0 | 5.2705 |  | 1.7764 |  | 0.1803 |  |  |  | 25
Count | 0 | 10 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 10 | 9 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 3 | 8 | 0 | 10 | 0 | 9 | 0 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 0 | 2 | 10 | 0 | 4 | 2 | 10 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | 9
95% Confidence Int. |  | 0.067567 | 0 | 2.6596 | 1.0465e-17 | 0.011082 | 0.036941 | 0.97121 | 1.0664 | 5.2784 | 6.4409 | 0.18547 | 0.0081214 | 0.56044 | 0.39211 | 0.010228 | 32.1778 | 0.095381 | 0.0050018 | 3.2903 | 70.4343 | 0.25622 | 0 | 0.025622 | 0.4769 | 0.11311 | 0.59014 |  | 1442.9024 | 2.0929e-17 | 29.7922 |  | 3.4423 | 7.1711 | 0.21097 |  | 3.0162 |  | 0.040512 |  | 0.53453 |  | 18.4704 | 17.2775 | 0.34464 | 8.3717e-17 | 0.32868 | 0.82946 | 0.018097 | 35.3762 |  |  | 0 | 37.7026 |  | 0.0079561 | 0 | 3.7703 |  | 1.2708 |  | 0.12898 |  |  |  | 19.2167
Lab 2
Sample | 4 Acid Digest / ICP | [32 empty] | Sodium Peroxide Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM2001 | 0.09 | 6.12 | 6 | 210 | 0.05 | 0.853 | 0.19 | 63.5 | 59.8 | 160 | 160 | 16.58 | 0.63 | 30.67 | 11.9 | 0.8 | 1392 | 4.9 | 0.367 | 234 | 800 | 10.6 | 120 | 0.25 | 47.6 | 4.4 | 46.3 | <0.05 | 49070 | 0.19 | 880 | 1.4 | 194 | nr | 6.03 | <10 | 209 | 0.1 | 0.9 | <0.5 | 69.4 | 52 | 233 | 171 | 17.88 | 0.7 | 32.4 | 21 | 0.87 | 1388 | 3 | nr | 90 | 1000 | 11 | <0.01 | <0.5 | 40 | <10 | 49.5 | <1 | 5.3 | 0 | 907 | <2 | 251
EM2003 | 0.07 | 6.48 | 5 | 223 | 0.06 | 0.91 | 0.2 | 66.86 | 60.4 | 146 | 157 | 17.92 | 0.67 | 32.33 | 12.8 | 0.842 | 1459 | 2.4 | 0.395 | 89 | 850 | 11.3 | 110 | 0.24 | 49.8 | 5.3 | 50 | <0.05 | 52350 | 0.24 | 982 | 0.9 | 201 | nr | 5.71 | <10 | 204 | 0.1 | 0.9 | <0.5 | 69.4 | 50 | 227 | 176 | 16.83 | 0.6 | 33.5 | 17 | 0.84 | 1371 | 3 | nr | 93 | 1000 | 11 | <0.01 | <0.5 | 39 | <10 | 49.9 | <1 | 5.19 | <0.2 | 904 | <2 | 252
EM2007 | 0.07 | 6.14 | 5 | 214 | 0.05 | 0.849 | 0.18 | 64.5 | 56.4 | 103 | 146 | 16.29 | 0.63 | 30.94 | 12.3 | 0.801 | 1364 | 2.3 | 0.368 | 82 | 800 | 10.6 | 120 | 0.24 | 46.7 | 4.5 | 46.6 | <0.05 | 48900 | 0.22 | 890 | 1.2 | 191 | nr | 5.62 | 11 | 203 | 0.1 | 0.8 | <0.5 | 70.3 | 51 | 221 | 176 | 16.91 | 0.6 | 33.5 | 19 | 0.84 | 1366 | 3 | nr | 92 | 900 | 11 | <0.01 | <0.5 | 38 | <10 | 48.8 | <1 | 5.18 | <0.2 | 891 | <2 | 252
EM2011 | 0.09 | 6.37 | 5 | 227 | 0.06 | 0.887 | 0.18 | 67.93 | 58.4 | 133 | 150 | 17.46 | 0.65 | 32.83 | 12.4 | 0.83 | 1412 | 2.3 | 0.385 | 85 | 820 | 11.2 | 100 | 0.24 | 46.6 | 5.2 | 48.5 | <0.05 | 51310 | 0.24 | 958 | 1 | 193 | nr | 5.67 | <10 | 206 | 0.1 | 0.8 | <0.5 | 70.3 | 51 | 240 | 176 | 16.63 | 0.6 | 34.1 | 15 | 0.85 | 1368 | 3 | nr | 93 | 1000 | 11 | <0.01 | <0.5 | 39 | <10 | 49.4 | <1 | 5.25 | <0.2 | 910 | <2 | 254
EM2017 | 0.07 | 6.19 | 5 | 222 | 0.05 | 0.854 | 0.2 | 68.66 | 56.8 | 100 | 147 | 17.08 | 0.64 | 32.94 | 12.6 | 0.805 | 1419 | 2.3 | 0.374 | 83 | 800 | 10.8 | 100 | 0.22 | 46.1 | 4.4 | 47.3 | <0.05 | 50660 | 0.22 | 903 | 1.2 | 192 | nr | 5.85 | <10 | 205 | 0.1 | 0.9 | <0.5 | 70.7 | 51 | 233 | 174 | 17.33 | 0.7 | 33.9 | 17 | 0.84 | 1373 | 4 | nr | 97 | 900 | 11 | <0.01 | <0.5 | 40 | <10 | 51.9 | <1 | 5.21 | <0.2 | 879 | 3 | 260
EM2022 | 0.08 | 6.25 | 5 | 229 | 0.05 | 0.872 | 0.19 | 69.39 | 55.9 | 101 | 146 | 17.41 | 0.64 | 33.42 | 12.9 | 0.812 | 1428 | 2.3 | 0.381 | 82 | 810 | 10.8 | 110 | 0.19 | 46.6 | 4.6 | 49.1 | <0.05 | 51190 | 0.19 | 928 | 1.2 | 190 | nr | 5.76 | <10 | 216 | 0.1 | 0.9 | <0.5 | 72.5 | 53 | 229 | 181 | 17.03 | 0.6 | 34.9 | 14 | 0.83 | 1441 | 3 | nr | 97 | 1000 | 11 | <0.01 | <0.5 | 39 | <10 | 51.9 | <1 | 5.27 | <0.2 | 913 | <2 | 265
EM2026 | 0.08 | 6.23 | 5 | 228 | 0.05 | 0.863 | 0.17 | 70.91 | 55 | 92 | 147 | 16.98 | 0.64 | 33.85 | 13.1 | 0.805 | 1406 | 3 | 0.38 | 83 | 840 | 11 | 120 | 0.22 | 47.2 | 4.4 | 48.5 | <0.05 | 50650 | 0.21 | 910 | 1.3 | 190 | nr | 5.89 | <10 | 211 | <0.1 | 0.9 | <0.5 | 69 | 52 | 220 | 176 | 17.41 | 0.7 | 32.2 | 15 | 0.85 | 1436 | 3 | nr | 95 | 1000 | 11 | <0.01 | <0.5 | 39 | <10 | 53.8 | <1 | 5.3 | <0.2 | 883 | <2 | 262
EM2033 | 0.07 | 6.24 | 4 | 234 | 0.06 | 0.866 | 0.19 | 72.02 | 55.9 | 120 | 148 | 17.38 | 0.64 | 34.38 | 13.4 | 0.805 | 1452 | 2.4 | 0.382 | 83 | 830 | 11 | 110 | 0.18 | 47.6 | 4.9 | 50.3 | <0.05 | 51070 | 0.23 | 935 | 1 | 193 | nr | 5.67 | <10 | 203 | 0.1 | 0.8 | <0.5 | 71.8 | 50 | 220 | 172 | 16.96 | 0.6 | 34.1 | 17 | 0.85 | 1387 | 3 | nr | 90 | 1000 | 11 | 0.01 | <0.5 | 37 | <10 | 49.9 | <1 | 5.21 | <0.2 | 887 | <2 | 254
EM2042 | 0.08 | 6.35 | 5 | 240 | 0.06 | 0.879 | 0.2 | 73.95 | 54.4 | 131 | 144 | 16.99 | 0.65 | 35.13 | 12.8 | 0.821 | 1436 | 2.3 | 0.385 | 81 | 830 | 10.9 | 100 | 0.22 | 46.5 | 5.2 | 50.5 | <0.05 | 50750 | 0.24 | 938 | 1.3 | 190 | nr | 5.68 | 12 | 202 | 0.1 | 0.9 | <0.5 | 68.8 | 51 | 229 | 177 | 17 | 0.6 | 33.1 | 13 | 0.84 | 1396 | 3 | nr | 98 | 1000 | 11 | <0.01 | 0.8 | 37 | <10 | 52.9 | <1 | 5.18 | <0.2 | 896 | <2 | 255
EM2044 | 0.1 | 6.31 | 5 | 243 | 0.06 | 0.875 | 0.21 | 73.74 | 56 | 130 | 146 | 17.43 | 0.68 | 35.31 | 13.8 | 0.822 | 1479 | 2.5 | 0.405 | 83 | 950 | 11 | 120 | 0.19 | 47.4 | 5.3 | 50.9 | <0.05 | 51460 | 0.24 | 957 | 1.3 | 190 | nr | 5.75 | <10 | 203 | 0.1 | 0.9 | <0.5 | 70.7 | 50 | 219 | 176 | 17.47 | 0.7 | 34.1 | 19 | 0.85 | 1356 | 3 | nr | 92 | 1000 | 11 | 0.01 | <0.5 | 37 | <10 | 54.9 | <1 | 5.14 | <0.2 | 871 | 3 | 254
Average | 0.08 | 6.268 | 5 | 223.375 | 0.055 | 0.86644 | 0.191 | 70.4325 | 56.9 | 121.6 | 149.1 | 17.152 | 0.647 | 33.18 | 12.8 | 0.8143 | 1424.7 | 2.4222 | 0.3822 | 83.4444 | 833 | 10.92 | 111 | 0.219 | 47.21 | 4.82 | 48.8 |  | 50741 | 0.222 | 928.1 | 1.18 | 192.4 |  | 5.763 | 11.5 | 206.2 | 0.1 | 0.87 |  | 70.29 | 51.1 | 227.1 | 175.5 | 17.145 | 0.64 | 33.58 | 16.7 | 0.846 | 1388.2 | 3.1 |  | 93.7 | 980 | 11 | 0.01 |  | 38.5 |  | 51.29 |  | 5.223 |  | 894.1 | 3
Standard Deviation | 0.010541 | 0.11094 | 0.4714 | 7.9989 | 0.0052705 | 0.012924 | 0.011972 | 2.6542 | 1.9956 | 22.297 | 5.2377 | 0.47279 | 0.016364 | 1.5814 | 0.54975 | 0.014 | 33.8397 | 0.22791 | 0.011574 | 2.3511 | 44.7338 | 0.22998 | 8.756 | 0.024698 | 1.0429 | 0.39944 | 1.6533 |  | 1050.7082 | 0.019889 | 32.4943 | 0.16193 | 3.3731 |  | 0.12588 | 0.70711 | 4.492 | 1.472e-17 | 0.048305 |  | 1.2004 | 0.99443 | 7.0467 | 2.7588 | 0.37095 | 0.05164 | 0.82973 | 2.4967 | 0.01075 | 29.0586 | 0.31623 |  | 2.9078 | 42.1637 | 0 | 0 |  | 1.1785 |  | 2.0952 |  | 0.054579 |  | 14.2318 | 0
Count | 10 | 10 | 10 | 8 | 10 | 9 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 2 | 10 | 9 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 2 | 1 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 2 | 0
95% Confidence Int. | 0.0075405 | 0.079358 | 0.33722 | 6.6872 | 0.0037703 | 0.0099342 | 0.0085644 | 2.219 | 1.4275 | 15.9503 | 3.7468 | 0.33821 | 0.011706 | 1.1312 | 0.39327 | 0.010015 | 24.2074 | 0.17519 | 0.0082795 | 1.8072 | 32.0006 | 0.16451 | 6.2636 | 0.017668 | 0.74605 | 0.28575 | 1.1827 |  | 751.6314 | 0.014227 | 23.245 | 0.11584 | 2.413 |  | 0.090049 | 6.3531 | 3.2134 | 1.1314e-17 | 0.034555 |  | 0.85873 | 0.71137 | 5.0409 | 1.9735 | 0.26536 | 0.036941 | 0.59355 | 1.786 | 0.0076899 | 20.7872 | 0.22622 |  | 2.0801 | 30.1621 | 0 | 0 |  | 0.84306 |  | 1.4988 |  | 0.039044 |  | 10.1808 | 0
Lab 3
Sample | 4 Acid Digest / ICP | [32 empty] | Lithium Borate Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM3001 | 0.04 | 5.82 | 3.5 | 230 | 0.11 | 0.87 | 0.15 | 82.1 | 58.2 | 184 | 164 | 14.9 | 0.62 | 37.7 | 14.6 | 0.81 | 1305 | 2.09 | 0.37 | 92.3 | 960 | 10.9 | 100 | 0.18 | 44.5 | 4.2 | 53.1 | <0.05 | 51600 | 0.15 | 820 | 1.2 | 191 | <1 | 5.7702 | nr | 205 | nr | 0.81487 | nr | 68.7 | 53.7 | 221 | 149 | 16.9231 | 0.59751 | 31.9 | nr | 0.84439 | 1394.268 | 3 | 0.34866 | 89 | 960.2794 | 10 | nr | nr | nr | 4.5 | 49.7 | nr | 5.66 | 0.11 | 981 | 1.9 | 168
EM3003 | 0.04 | 5.54 | 3.2 | 220 | 0.11 | 0.83 | 0.14 | 77.2 | 53.7 | 177 | 157.5 | 14.0 | 0.59 | 35.7 | 13.6 | 0.78 | 1260 | 1.96 | 0.35 | 87.3 | 910 | 10.4 | 100 | 0.19 | 40.8 | 3.9 | 49.2 | <0.05 | 49000 | 0.14 | 795 | 1.1 | 183 | <1 | 5.7967 | nr | 212 | nr | 0.82202 | nr | 70.1 | 53.3 | 225 | 151 | 16.993 | 0.60581 | 32.5 | nr | 0.85042 | 1394.268 | 3 | 0.35608 | 86 | 960.2794 | 10 | nr | nr | nr | 4.3 | 45.6 | nr | 5.52 | 0.14 | 969 | 1.9 | 170
EM3007 | 0.06 | 5.53 | 3.3 | 210 | 0.1 | 0.81 | 0.14 | 76.1 | 53.9 | 176 | 156.5 | 14.2 | 0.59 | 34.8 | 13.7 | 0.77 | 1255 | 1.91 | 0.35 | 86.5 | 900 | 10.2 | 100 | 0.17 | 40.1 | 3.8 | 49.9 | <0.05 | 47900 | 0.14 | 776 | 1.1 | 180 | <1 | 5.6644 | nr | 206 | nr | 0.79342 | nr | 70 | 53.9 | 219 | 148 | 16.5734 | 0.58921 | 32.3 | nr | 0.83233 | 1394.268 | 3 | 0.31899 | 84 | 916.6303 | 9 | nr | nr | nr | 5 | 47.6 | nr | 5.58 | 0.13 | 953 | 1.6 | 170
EM3011 | 0.03 | 5.56 | 3.1 | 210 | 0.1 | 0.85 | 0.13 | 76.5 | 54.1 | 183 | 160 | 15.0 | 0.59 | 35.4 | 13.9 | 0.78 | 1290 | 2 | 0.36 | 87.3 | 930 | 10.7 | 100 | 0.17 | 41.2 | 4 | 53.1 | <0.05 | 48400 | 0.14 | 808 | 1.1 | 185 | <1 | 5.585 | nr | 204 | nr | 0.81487 | nr | 67.3 | 52 | 221 | 151 | 16.9231 | 0.58091 | 31.9 | nr | 0.8082 | 1394.268 | 3 | 0.34125 | 81 | 916.6303 | 10 | nr | nr | nr | 4.4 | 49.2 | nr | 5.55 | 0.13 | 958 | 1.9 | 168
EM3017 | 0.05 | 5.55 | 3.1 | 220 | 0.11 | 0.83 | 0.13 | 73.7 | 51.5 | 181 | 155.5 | 14.2 | 0.59 | 34.3 | 14 | 0.79 | 1265 | 1.93 | 0.35 | 84.3 | 930 | 10.8 | 100 | 0.18 | 39.6 | 3.8 | 49.1 | <0.05 | 49000 | 0.14 | 807 | 1.1 | 187 | <1 | 5.7967 | nr | 212 | nr | 0.80057 | nr | 69.5 | 55.3 | 223 | 149 | 17.0629 | 0.59751 | 32.8 | nr | 0.84439 | 1394.268 | 3 | 0.31899 | 89 | 916.6303 | 10 | nr | nr | nr | 4.9 | 49.8 | nr | 5.71 | 0.13 | 985 | 2 | 170
EM3022 | 0.07 | 5.61 | 3.2 | 220 | 0.1 | 0.82 | 0.15 | 73.7 | 52.1 | 181 | 154 | 14.3 | 0.6 | 35.2 | 14 | 0.79 | 1265 | 1.92 | 0.35 | 85.3 | 930 | 10.6 | 100 | 0.18 | 39.8 | 3.9 | 48.1 | <0.05 | 49500 | 0.13 | 806 | 1.1 | 187 | <1 | 5.8497 | nr | 219 | nr | 0.81487 | nr | 71.9 | 55.4 | 222 | 155 | 16.9231 | 0.60581 | 33.2 | nr | 0.85645 | 1394.268 | 2 | 0.32641 | 93 | 960.2794 | 10 | nr | nr | nr | 4.8 | 49.9 | nr | 5.73 | 0.13 | 987 | 2 | 177
EM3026 | 0.04 | 5.49 | 3.1 | 220 | 0.1 | 0.83 | 0.14 | 76.1 | 52.9 | 176 | 153.5 | 14.0 | 0.59 | 35 | 13.6 | 0.77 | 1240 | 1.9 | 0.35 | 85.6 | 910 | 10.4 | 100 | 0.18 | 40.2 | 3.8 | 49 | <0.05 | 49400 | 0.14 | 784 | 1.2 | 182 | <1 | 5.7173 | nr | 216 | nr | 0.80772 | nr | 69.7 | 54.7 | 221 | 153 | 16.7832 | 0.59751 | 32.6 | nr | 0.84439 | 1394.268 | 3 | 0.33383 | 91 | 960.2794 | 10 | nr | nr | nr | 4.5 | 47.4 | nr | 5.64 | 0.13 | 962 | 1.9 | 168
EM3033 | 0.06 | 5.37 | 3.2 | 210 | 0.1 | 0.79 | 0.13 | 73.2 | 51.2 | 171 | 149.5 | 13.6 | 0.57 | 34.3 | 13.2 | 0.75 | 1220 | 1.84 | 0.34 | 83.3 | 880 | 10 | 100 | 0.18 | 38.3 | 3.8 | 48.7 | <0.05 | 46800 | 0.13 | 757 | 1.1 | 177 | <1 | 5.6379 | nr | 210 | nr | 0.79342 | nr | 68.2 | 53.1 | 218 | 148 | 16.7133 | 0.58091 | 33 | nr | 0.82027 | 1316.8087 | 3 | 0.31157 | 87 | 872.9812 | 10 | nr | nr | nr | 5 | 48.9 | nr | 5.54 | 0.13 | 966 | 2.1 | 162
EM3042 | <0.01 | 5.48 | 3 | 210 | 0.11 | 0.8 | 0.13 | 73.7 | 51.8 | 166 | 154 | 13.8 | 0.58 | 33.4 | 13.3 | 0.75 | 1250 | 1.92 | 0.34 | 87.8 | 890 | 10.6 | 100 | 0.19 | 40.8 | 3.8 | 48.4 | <0.05 | 47600 | 0.14 | 770 | 1.1 | 178 | <1 | 5.7967 | nr | 211 | nr | 0.81487 | nr | 74.8 | 57.1 | 217 | 157 | 16.9231 | 0.59751 | 35.3 | nr | 0.85042 | 1316.8087 | 3 | 0.34866 | 97 | 960.2794 | 9 | nr | nr | nr | 4.9 | 48.1 | nr | 5.49 | 0.14 | 998 | 1.8 | 177
EM3044 | <0.01 | 5.46 | 3 | 210 | 0.1 | 0.8 | 0.15 | 71.4 | 49.8 | 167 | 154 | 13.9 | 0.57 | 32.8 | 13.4 | 0.75 | 1245 | 1.9 | 0.34 | 85.9 | 910 | 10.4 | 100 | 0.2 | 39.8 | 3.6 | 48.5 | 0.06 | 46700 | 0.14 | 776 | 1.1 | 180 | <1 | 5.9026 | nr | 205 | nr | 0.83631 | nr | 74.3 | 52.8 | 216 | 156 | 17.4825 | 0.61411 | 34.6 | nr | 0.85645 | 1394.268 | 3 | 0.35608 | 92 | 1003.9284 | 11 | nr | nr | nr | 4.8 | 47.5 | nr | 5.27 | 0.17 | 996 | 2.5 | 186
Average | 0.04875 | 5.541 | 3.17 | 216 | 0.104 | 0.823 | 0.139 | 75.37 | 52.92 | 176.2 | 155.85 |  | 0.589 | 34.86 | 13.73 | 0.774 | 1259.5 | 1.937 | 0.35 | 86.56 | 915 | 10.5 | 100 | 0.182 | 40.51 | 3.86 | 48.8625 |  | 48590 | 0.139 | 789.9 | 1.12 | 183 |  | 5.7517 |  | 210 |  | 0.81129 |  | 70.45 | 54.13 | 220.3 | 151.7 | 16.9301 | 0.59668 | 33.01 |  | 0.84077 | 1378.7761 | 2.9 | 0.33605 | 88.9 | 942.8197 | 9.9 |  |  |  | 4.71 | 48.37 |  | 5.569 | 0.134 | 975.5 | 1.96 | 171.6
Standard Deviation | 0.013562 | 0.11799 | 0.14944 | 6.9921 | 0.005164 | 0.024518 | 0.008756 | 2.9781 | 2.2968 | 6.4083 | 3.9864 |  | 0.014491 | 1.3418 | 0.41379 | 0.020111 | 24.3185 | 0.067831 | 0.0094281 | 2.4555 | 23.214 | 0.27487 | 0 | 0.0091894 | 1.6176 | 0.15776 | 0.563 |  | 1458.6523 | 0.0056765 | 20.3057 | 0.042164 | 4.4721 |  | 0.099077 |  | 5.0332 |  | 0.013159 |  | 2.4874 | 1.5063 | 2.7909 | 3.3682 | 0.24101 | 0.010678 | 1.118 |  | 0.015881 | 32.6597 | 0.31623 | 0.016421 | 4.6536 | 36.8081 | 0.56765 |  |  |  | 0.26013 | 1.3809 |  | 0.1327 | 0.015055 | 16.0087 | 0.2319 | 6.7032
Count | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 8 | 1 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 0 | 0 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10
95% Confidence Int. | 0.011338 | 0.084403 | 0.10691 | 5.0018 | 0.0036941 | 0.017539 | 0.0062636 | 2.1304 | 1.643 | 4.5842 | 2.8517 |  | 0.010367 | 0.95987 | 0.29601 | 0.014386 | 17.3964 | 0.048524 | 0.0067444 | 1.7565 | 16.6063 | 0.19663 | 0 | 0.0065737 | 1.1571 | 0.11286 | 0.47068 |  | 1043.457 | 0.0040607 | 14.5258 | 0.030162 | 3.1992 |  | 0.070876 |  | 3.6006 |  | 0.0094131 |  | 1.7794 | 1.0776 | 1.9965 | 2.4094 | 0.17241 | 0.0076385 | 0.79976 |  | 0.011361 | 23.3634 | 0.22622 | 0.011747 | 3.329 | 26.3309 | 0.40607 |  |  |  | 0.18608 | 0.98781 |  | 0.09493 | 0.01077 | 11.4519 | 0.16589 | 4.7952
Lab 4
Sample | 4 Acid Digest / ICP | [32 empty] | Lithium Borate Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM4001 | 0.05 | 5.8668 | 3.6 | 213.8 | 0.11 | 0.8396 | 0.17 | 75.95 | 54.2 | 217 | 162 | 17.71 | 0.6344 | 35.3 | 14.5 | 0.8269 | 1372 | 2.3 | 0.375 | 89 | 969 | 11.2 | 92 | 0.25 | 42.6 | 4.3 | 47.53 | <0.2 | >20000 | 0.17 | 848 | 1.3 | 188 | nr | 5.73 | 4.6 | 201.4 | 0.15 | 0.81 | 0.11 | 66.7 | 55 | 207 | 146 | 16.73 | 0.59 | 32.1 | nr | 0.84 | 1400 | 2 | 0.33 | 95 | 1000 | 11 | 0.02 | <0.2 | 41 | 4 | 45.6 | nr | 5.21 | 0.06 | 927 | 2 | 203
EM4003 | 0.06 | 5.8816 | 3.5 | 206 | 0.11 | 0.8461 | 0.15 | 71.73 | 54.8 | 209 | 160 | 16.46 | 0.638 | 33.44 | 13.9 | 0.8273 | 1380 | 2.3 | 0.3805 | 89 | 981 | 11.2 | 93 | 0.25 | 41.6 | 4.3 | 48.22 | <0.2 | >20000 | 0.16 | 854 | 1.2 | 190 | nr | 5.57 | 3.5 | 203.1 | 0.12 | 0.8 | 0.16 | 67.6 | 56.5 | 204 | 144 | 16.62 | 0.58 | 31.6 | nr | 0.82 | 1300 | 2 | 0.32 | 91 | 900 | 12 | 0.02 | <0.2 | 40 | 4 | 48.4 | nr | 5.08 | 0.03 | 920 | 2 | 194
EM4007 | 0.05 | 5.7357 | 3.7 | 210.2 | 0.11 | 0.813 | 0.17 | 73.61 | 55 | 204 | 155 | 16.3 | 0.6198 | 34.23 | 13.5 | 0.8058 | 1332 | 2.2 | 0.3632 | 85 | 944 | 11.3 | 90 | 0.23 | 40.8 | 4.2 | 47.26 | <0.2 | >20000 | 0.18 | 873 | 1.3 | 182 | nr | 5.76 | 3.1 | 209.8 | 0.1 | 0.81 | 0.12 | 67.9 | 56.9 | 206 | 145 | 16.94 | 0.6 | 32.4 | nr | 0.84 | 1400 | 3 | 0.34 | 93 | 1000 | 10 | 0.01 | 0.3 | 43 | 5 | 47.9 | nr | 5.22 | 0.02 | 939 | 2 | 201
EM4011 | 0.05 | 5.6896 | 3.6 | 213.3 | 0.11 | 0.8144 | 0.16 | 74.7 | 55.1 | 214 | 157 | 17.29 | 0.6168 | 34.84 | 13.3 | 0.8072 | 1365 | 2.3 | 0.3611 | 88 | 949 | 11.6 | 90 | 0.24 | 41.1 | 4.4 | 47.46 | <0.2 | >20000 | 0.16 | 894 | 1.3 | 184 | nr | 5.8 | 4 | 202.4 | 0.09 | 0.83 | 0.33 | 70.1 | 55.6 | 211 | 146 | 17.26 | 0.6 | 31.9 | nr | 0.85 | 1400 | 1 | 0.34 | 94 | 1000 | 11 | 0.02 | 0.3 | 42 | 5 | 48 | nr | 5.3 | 0.04 | 953 | 3 | 204
EM4017 | <0.05 | 5.8614 | 3.7 | 219.8 | 0.11 | 0.8372 | 0.16 | 76.63 | 55.2 | 209 | 159 | 17.03 | 0.6347 | 35.27 | 13.5 | 0.823 | 1382 | 2.3 | 0.3722 | 88 | 970 | 11.8 | 93 | 0.24 | 41.7 | 4.3 | 48.88 | <0.2 | >20000 | 0.17 | 884 | 1.2 | 186 | nr | 5.79 | 3.6 | 210.8 | 0.14 | 0.82 | 0.29 | 67.9 | 58 | 214 | 147 | 17.06 | 0.59 | 32.4 | nr | 0.85 | 1400 | 2 | 0.34 | 93 | 900 | 12 | 0.02 | 0.3 | 43 | 5 | 50.7 | nr | 5.27 | 0.05 | 929 | 1 | 201
EM4022 | 0.06 | 5.8302 | 3.5 | 211 | 0.12 | 0.8416 | 0.16 | 75.8 | 54.1 | 219 | 161 | 17.72 | 0.6307 | 34.67 | 12.8 | 0.8266 | 1381 | 2.3 | 0.3721 | 90 | 976 | 12.1 | 94 | 0.27 | 42 | 4.3 | 47.93 | <0.2 | >20000 | 0.16 | 929 | 1.3 | 189 | nr | 5.79 | 3.7 | 203.6 | 0.15 | 0.82 | 0.29 | 68.2 | 57.5 | 200 | 149 | 16.79 | 0.6 | 32.4 | nr | 0.85 | 1400 | 2 | 0.34 | 97 | 900 | 11 | 0.02 | <0.2 | 42 | 4 | 47.8 | nr | 5.25 | 0.03 | 938 | <1 | 207
EM4026 | 0.06 | 5.6494 | 3.5 | 208.9 | 0.12 | 0.8442 | 0.16 | 73.56 | 53.8 | 190 | 159 | 17.65 | 0.6076 | 34.24 | 13 | 0.7886 | 1356 | 2.3 | 0.3795 | 87 | 944 | 11.6 | 88 | 0.26 | 40.7 | 4.3 | 50.3 | <0.2 | >20000 | 0.17 | 875 | 1.2 | 182 | nr | 5.44 | 3.2 | 198.9 | 0.16 | 0.81 | 0.32 | 66.1 | 56.8 | 200 | 143 | 16.93 | 0.56 | 30.7 | nr | 0.79 | 1300 | 2 | 0.34 | 98 | 900 | 10 | 0.02 | 0.3 | 40 | 5 | 51.4 | nr | 4.97 | 0.04 | 913 | 2 | 189
EM4033 | 0.06 | 5.7035 | 3.5 | 215.1 | 0.11 | 0.8331 | 0.15 | 75.93 | 54 | 215 | 159 | 17.66 | 0.6143 | 35.36 | 13.2 | 0.7983 | 1373 | 2.3 | 0.3737 | 89 | 962 | 11.8 | 89 | 0.22 | 40.9 | 4.4 | 50.37 | <0.2 | >20000 | 0.17 | 912 | 1.4 | 183 | nr | 5.5 | 3.2 | 210.7 | 0.2 | 0.79 | 0.12 | 66.4 | 58.2 | 201 | 144 | 16.49 | 0.57 | 31.9 | nr | 0.81 | 1300 | 2 | 0.33 | 91 | 900 | 10 | 0.01 | 0.3 | 40 | 4 | 50 | nr | 5 | 0.04 | 915 | 1 | 186
EM4042 | 0.09 | 5.8374 | 3.5 | 214.5 | 0.11 | 0.833 | 0.15 | 75.08 | 54.7 | 216 | 162 | 17.48 | 0.6348 | 35.29 | 13.4 | 0.8194 | 1386 | 2.3 | 0.3717 | 87 | 959 | 11.7 | 92 | 0.27 | 41.9 | 4.6 | 48.53 | <0.2 | >20000 | 0.17 | 891 | 1.6 | 188 | nr | 5.69 | 4.2 | 202.5 | 0.09 | 0.82 | 0.29 | 70.5 | 57.1 | 211 | 147 | 17.25 | 0.58 | 32.2 | nr | 0.84 | 1400 | 2 | 0.33 | 97 | 900 | 10 | 0.01 | 0.2 | 42 | 4 | 50.2 | nr | 5.22 | 0.05 | 930 | 2 | 204
EM4044 | 0.06 | 5.8584 | 3.6 | 216.6 | 0.1 | 0.801 | 0.15 | 75.67 | 54.4 | 198 | 150 | 15.1 | 0.6085 | 35.55 | 12.6 | 0.7904 | 1294 | 2.2 | 0.3539 | 84 | 945 | 11.5 | 93 | 0.27 | 40.1 | 4.4 | 48.94 | <0.2 | >20000 | 0.15 | 826 | 1.3 | 186 | nr | 5.74 | 3.7 | 206.2 | 0.14 | 0.8 | 0.23 | 67.6 | 55.2 | 210 | 146 | 16.98 | 0.59 | 32.2 | nr | 0.83 | 1400 | 2 | 0.34 | 87 | 1000 | 10 | 0.01 | 0.3 | 41 | 4 | 50.9 | nr | 5.29 | 0.02 | 939 | 1 | 199
Average | 0.06 | 5.7914 | 3.57 | 212.92 | 0.111 | 0.83032 | 0.158 | 74.866 | 54.53 | 209.1 | 158.4 | 17.2556 | 0.62396 | 34.819 | 13.37 | 0.81135 | 1362.1 | 2.28 | 0.37029 | 87.6 | 959.9 | 11.58 | 91.4 | 0.25 | 41.34 | 4.35 | 48.542 |  |  | 0.166 | 878.6 | 1.31 | 185.8 |  | 5.681 | 3.68 | 204.94 | 0.134 | 0.811 | 0.226 | 67.9 | 56.68 | 206.4 | 145.7 | 16.905 | 0.586 | 31.98 |  | 0.832 | 1370 | 2 | 0.335 | 93.6 | 940 | 10.7 | 0.016 | 0.28571 | 41.4 | 4.4 | 49.09 |  | 5.181 | 0.038 | 930.3 | 1.7778 | 198.8
Standard Deviation | 0.012247 | 0.087043 | 0.082327 | 4.0024 | 0.0056765 | 0.015385 | 0.0078881 | 1.4955 | 0.49677 | 9.3149 | 3.6576 | 0.54656 | 0.011799 | 0.67413 | 0.54579 | 0.01529 | 28.7729 | 0.042164 | 0.0084007 | 1.8974 | 13.908 | 0.28983 | 2.0111 | 0.017638 | 0.74714 | 0.10801 | 1.1066 |  |  | 0.0084327 | 30.6021 | 0.11972 | 2.9364 |  | 0.13051 | 0.47796 | 4.2075 | 0.034705 | 0.011972 | 0.089592 | 1.4453 | 1.1144 | 5.0596 | 1.767 | 0.25251 | 0.013499 | 0.52026 |  | 0.019889 | 48.3046 | 0.4714 | 0.0070711 | 3.3731 | 51.6398 | 0.82327 | 0.005164 | 0.037796 | 1.1738 | 0.5164 | 1.8315 |  | 0.12023 | 0.013166 | 12.3743 | 0.66667 | 6.925
Count | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 0 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 7 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 9 | 10
95% Confidence Int. | 0.0094142 | 0.062267 | 0.058893 | 2.8632 | 0.0040607 | 0.011006 | 0.0056428 | 1.0698 | 0.35537 | 6.6635 | 2.6165 | 0.42012 | 0.0084405 | 0.48225 | 0.39044 | 0.010938 | 20.5829 | 0.030162 | 0.0060095 | 1.3573 | 9.9492 | 0.20733 | 1.4386 | 0.012618 | 0.53447 | 0.077267 | 0.79163 |  |  | 0.0060324 | 21.8914 | 0.085644 | 2.1005 |  | 0.093359 | 0.34191 | 3.0098 | 0.024827 | 0.0085644 | 0.06409 | 1.0339 | 0.79716 | 3.6195 | 1.264 | 0.18063 | 0.0096566 | 0.37217 |  | 0.014227 | 34.555 | 0.33722 | 0.0050583 | 2.413 | 36.9409 | 0.58893 | 0.0036941 | 0.034956 | 0.83968 | 0.36941 | 1.3102 |  | 0.086005 | 0.0094181 | 8.852 | 0.51245 | 4.9538
Lab 5
Sample | 4 Acid Digest / ICP | [32 empty] | Lithium Borate Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM5001 | <0.2 | 5.42 | <1 | 224 | <0.1 | 0.8 | <0.5 | 77.4 | 46 | 240 | 144 | 16.6 | 0.58 | 32.6 | <10 | 0.83 | 1370 | 0.5 | 0.33 | 98 | 550 | 11 | 150 | <0.1 | 44 | 2.4 | 48.5 | <0.2 | 17200 | 0.2 | 545 | <0.5 | 170 | nr | 5.48 | nr | 210 | <3 | 0.81 | nr | 79 | 50 | 220 | nr | 16.6 | 0.63 | 36 | nr | 0.855 | 1300 | <2 | 0.36 | nr | 1000 | nr | nr | <1 | 45 | <10 | 55 | <5 | 5.22 | <3 | 820 | <3 | nr
EM5003 | <0.2 | 5.46 | <1 | 224 | <0.1 | 0.81 | <0.5 | 75.9 | 50 | 260 | 142 | 16.7 | 0.6 | 34 | <10 | 0.85 | 1530 | 0.5 | 0.38 | 96 | 450 | 11 | 200 | <0.1 | 45 | 2.6 | 50 | <0.2 | 17500 | 0.2 | 530 | <0.5 | 170 | nr | 5.58 | nr | 210 | <3 | 0.82 | nr | 79.5 | 50 | 220 | nr | 16.8 | 0.66 | 35 | nr | 0.875 | 1300 | <2 | 0.37 | nr | 1050 | nr | nr | <1 | 45 | <10 | 50 | <5 | 5.2 | <3 | 800 | <3 | nr
EM5007 | <0.2 | 5.43 | <1 | 222 | <0.1 | 0.8 | <0.5 | 79.9 | 50 | 240 | 140 | 16.7 | 0.57 | 34.7 | <10 | 0.81 | 1360 | 0.5 | 0.35 | 92 | 550 | 12 | 200 | 0.2 | 44 | 2.5 | 52.0 | <0.2 | 18900 | 0.2 | 585 | <0.5 | 172 | nr | 5.52 | nr | 210 | <3 | 0.82 | nr | 77 | 50 | 220 | nr | 17 | 0.62 | 35 | nr | 0.885 | 1400 | <2 | 0.37 | nr | 1050 | nr | nr | <1 | 45 | <10 | 55 | <5 | 5.24 | <3 | 860 | <3 | nr
EM5011 | <0.2 | 5.39 | <1 | 224 | <0.1 | 0.82 | <0.5 | 78.9 | 49 | 230 | 144 | 16.8 | 0.55 | 32.9 | 10.0 | 0.82 | 1360 | 0.5 | 0.35 | 94 | 550 | 11 | 150 | <0.1 | 45 | 2.3 | 49.5 | <0.2 | 18000 | 0.2 | 560 | <0.5 | 178 | nr | 5.42 | nr | 220 | <3 | 0.81 | nr | 78 | 60 | 220 | nr | 17.3 | 0.62 | 39 | nr | 0.85 | 1300 | <2 | 0.35 | nr | 1000 | nr | nr | <1 | 45 | <10 | 60 | <5 | 5.22 | <3 | 820 | <3 | nr
EM5017 | <0.2 | 5.35 | <1 | 214 | <0.1 | 0.8 | <0.5 | 76.3 | 49 | 210 | 142 | 16.4 | 0.56 | 32.1 | 10.0 | 0.84 | 1260 | 0.5 | 0.34 | 96 | 500 | 11 | 150 | <0.1 | 45 | 2.3 | 49 | <0.2 | 18400 | 0.1 | 470 | <0.5 | 172 | nr | 5.46 | nr | 210 | <3 | 0.81 | nr | 78.5 | 50 | 220 | nr | 17.5 | 0.61 | 36 | nr | 0.855 | 1350 | <2 | 0.36 | nr | 1050 | nr | nr | <1 | 45 | <10 | 55 | <5 | 5.24 | <3 | 840 | <3 | nr
EM5022 | <0.2 | 5.42 | <1 | 228 | <0.1 | 0.81 | <0.5 | 76.2 | 52 | 230 | 142 | 16.8 | 0.59 | 34.3 | <10 | 0.82 | 1390 | 0.5 | 0.36 | 94 | 550 | 11 | 200 | <0.1 | 45 | 2.5 | 48.5 | <0.2 | 16800 | 0.1 | 555 | <0.5 | 176 | nr | 5.52 | nr | 210 | <3 | 0.83 | nr | 78 | 50 | 240 | nr | 17.4 | 0.63 | 36 | nr | 0.88 | 1400 | <2 | 0.37 | nr | 1050 | nr | nr | <1 | 45 | <10 | 60 | <5 | 5.4 | <3 | 860 | <3 | nr
EM5026 | <0.2 | 5.36 | <1 | 216 | <0.1 | 0.8 | <0.5 | 75.8 | 50 | 210 | 148 | 16.6 | 0.56 | 33.8 | 10.0 | 0.8 | 1280 | 0.5 | 0.35 | 92 | 500 | 11 | 200 | <0.1 | 144 | 2.3 | 47.5 | <0.2 | 14700 | 0.2 | 470 | <0.5 | 170 | nr | 5.54 | nr | 220 | <3 | 0.82 | nr | 79.5 | 50 | 240 | nr | 17.4 | 0.62 | 36 | nr | 0.875 | 1350 | <2 | 0.36 | nr | 1000 | nr | nr | <1 | 45 | <10 | 60 | <5 | 5.21 | <3 | 860 | <3 | nr
EM5033 | <0.2 | 5.41 | <1 | 214 | <0.1 | 0.81 | <0.5 | 77.5 | 49 | 210 | 144 | 16.3 | 0.57 | 32.5 | 10.0 | 0.84 | 1250 | 0.5 | 0.33 | 90 | 500 | 11 | 150 | <0.1 | 44 | 2.2 | 49.5 | <0.2 | 18900 | 0.2 | 470 | <0.5 | 174 | nr | 5.48 | nr | 210 | <3 | 0.81 | nr | 79 | 50 | 240 | nr | 17.7 | 0.63 | 35 | nr | 0.875 | 1350 | <2 | 0.36 | nr | 1000 | nr | nr | <1 | 45 | <10 | 55 | <5 | 5.27 | <3 | 860 | <3 | nr
EM5042 | <0.2 | 5.49 | <1 | 220 | <0.1 | 0.83 | <0.5 | 78 | 52 | 230 | 142 | 16.7 | 0.57 | 34.3 | 10.0 | 0.83 | 1340 | 0.5 | 0.35 | 94 | 500 | 12 | 200 | <0.1 | 45 | 2.4 | 52.5 | <0.2 | 23500 | 0.2 | 570 | <0.5 | 174 | nr | 5.45 | nr | 220 | <3 | 0.82 | nr | 79.5 | 50 | 220 | nr | 17.5 | 0.65 | 37 | nr | 0.875 | 1350 | <2 | 0.37 | nr | 1100 | nr | nr | <1 | 45 | <10 | 60 | <5 | 5.28 | <3 | 840 | <3 | nr
EM5044 | <0.2 | 5.55 | <1 | 220 | <0.1 | 0.81 | <0.5 | 75.5 | 53 | 210 | 144 | 16.7 | 0.55 | 33.6 | 10.0 | 0.84 | 1470 | 0.5 | 0.38 | 96 | 300 | 11 | 150 | <0.1 | 45 | 2.2 | 47 | <0.2 | 19300 | 0.2 | 540 | <0.5 | 172 | nr | 5.57 | nr | 220 | <3 | 0.82 | nr | 79 | 50 | 220 | nr | 17.1 | 0.64 | 36 | nr | 0.88 | 1400 | <2 | 0.37 | nr | 1100 | nr | nr | <1 | 45 | <10 | 55 | <5 | 5.35 | <3 | 840 | <3 | nr
Average |  | 5.428 |  | 220.6 |  | 0.809 |  | 77.14 | 50 | 227 | 143.2 | 16.63 | 0.57 | 33.48 |  | 0.828 | 1361 | 0.5 | 0.352 | 94.2 | 495 | 11.2 |  |  | 44.6667 | 2.37 | 48.6875 |  | 18320 | 0.18 | 529.5 |  | 172.8 |  | 5.502 |  | 214 |  | 0.817 |  | 78.7 | 51 | 226 |  | 17.23 | 0.631 | 36.1 |  | 0.8705 | 1350 |  | 0.364 |  | 1040 |  |  |  | 45 |  | 56.5 |  | 5.263 |  | 840
Standard Deviation |  | 0.059963 |  | 4.7188 |  | 0.0099443 |  | 1.463 | 2 | 17.0294 | 2.1499 | 0.16364 | 0.01633 | 0.89418 |  | 0.015492 | 88.7506 | 0 | 0.017512 | 2.3944 | 76.1942 | 0.42164 |  |  | 0.5 | 0.13375 | 1.0329 |  | 2258.7115 | 0.042164 | 43.8083 |  | 2.6998 |  | 0.052662 |  | 5.164 |  | 0.0067495 |  | 0.82327 | 3.1623 | 9.6609 |  | 0.34657 | 0.015239 | 1.1972 |  | 0.012349 | 40.8248 |  | 0.0069921 |  | 39.4405 |  |  |  | 0 |  | 3.3747 |  | 0.065158 |  | 21.0819
Count | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 1 | 9 | 10 | 8 | 0 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 0 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 0
95% Confidence Int. |  | 0.042895 |  | 3.3756 |  | 0.0071137 |  | 1.0466 | 1.4307 | 12.1821 | 1.538 | 0.11706 | 0.011682 | 0.63966 |  | 0.011082 | 63.4883 | 0 | 0.012527 | 1.7129 | 54.506 | 0.30162 |  |  | 0.38433 | 0.095679 | 0.86356 |  | 1615.7849 | 0.030162 | 31.3386 |  | 1.9313 |  | 0.037672 |  | 3.6941 |  | 0.0048283 |  | 0.58893 | 2.2622 | 6.911 |  | 0.24792 | 0.010901 | 0.85644 |  | 0.008834 | 29.2043 |  | 0.0050018 |  | 28.2141 |  |  |  | 0 |  | 2.4141 |  | 0.046611 |  | 15.081
Lab 6
Sample | 4 Acid Digest / ICP | [32 empty] | Sodium Peroxide Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
EM6001 | 1.7 | 5.813 | 32 | 220 | 0.7 | 0.801 | <0.5 | 77.1 | 65 | 220 | 160 | 17.005 | 0.59 | 35.1 | 12 | 0.848 | 1380 | 2 | 0.35 | 85 | 985 | 11 | 50 | <0.5 | 47 | 4.5 | 48 | 0.1 | 51510 | 0.15 | 930 | 1.5 | 200 | nr | 5.87 | <50 | 210 | <0.5 | 0.8 | <1 | 73 | <50 | 200 | 150 | 17.22 | 0.6 | 33 | 20 | 0.85 | 1390 | <5 | nr | 100 | 900 | <50 | <0.01 | 2 | 40 | 4 | 50 | 2 | 5.29 | 0.1 | 950 | <10 | 200
EM6003 | 1.4 | 5.968 | 31 | 215 | 0.2 | 0.822 | <0.5 | 77 | 55 | 220 | 160 | 17.215 | 0.6 | 34.5 | 13 | 0.8725 | 1395 | 2 | 0.36 | 90 | 1025 | 11 | 100 | <0.5 | 43 | 4.5 | 47 | 0.2 | 52250 | 0.15 | 925 | 1.5 | 200 | nr | 5.87 | <50 | 220 | <0.5 | 0.8 | <1 | 73 | 50 | 250 | 150 | 17.42 | 0.6 | 33 | 20 | 0.86 | 1400 | <5 | nr | 100 | 1000 | <50 | 0.01 | <1 | 40 | 4 | 50 | 1.5 | 5.38 | 0.2 | 1000 | <10 | 200
EM6007 | 1.5 | 5.959 | 31 | 220 | <0.1 | 0.817 | <0.5 | 79.5 | 50 | 230 | 155 | 17.36 | 0.61 | 35.6 | 13 | 0.8685 | 1410 | 2 | 0.355 | 90 | 1040 | 11 | 100 | <0.5 | 44 | 4.5 | 47 | 0.1 | 52700 | 0.15 | 930 | 1.5 | 200 | nr | 5.91 | <50 | 230 | <0.5 | 0.8 | <1 | 72 | <50 | 200 | 150 | 17.58 | 0.6 | 35 | 30 | 0.87 | 1420 | <5 | nr | 100 | 1000 | <50 | <0.01 | <1 | 40 | 3 | 50 | 1.5 | 5.44 | 0.2 | 950 | <10 | 200
EM6011 | 1.4 | 5.984 | 28 | 220 | <0.1 | 0.812 | <0.5 | 79.5 | 60 | 240 | 160 | 17.295 | 0.61 | 35.7 | 14 | 0.8695 | 1400 | 2 | 0.36 | 90 | 1020 | 12 | 50 | <0.5 | 44 | 4.5 | 48 | 0.1 | 51820 | 0.15 | 930 | 1.5 | 190 | nr | 5.94 | <50 | 220 | <0.5 | 0.8 | <1 | 73 | <50 | 200 | 150 | 17.18 | 0.6 | 34 | 30 | 0.86 | 1400 | <5 | nr | 100 | 1100 | <50 | <0.01 | <1 | 40 | 4 | 50 | 1.5 | 5.39 | 0.1 | 950 | <10 | 150
EM6017 | 1.4 | 5.975 | 25 | 215 | <0.1 | 0.808 | <0.5 | 77 | 60 | 230 | 160 | 17.215 | 0.605 | 34.9 | 13 | 0.865 | 1385 | 2 | 0.355 | 85 | 1005 | 11 | 100 | <0.5 | 44 | 4.5 | 48 | 0.1 | 52290 | 0.15 | 925 | 1.5 | 190 | nr | 5.9 | <50 | 220 | <0.5 | 0.8 | <1 | 72 | 50 | 200 | 150 | 17.32 | 0.6 | 35 | 20 | 0.85 | 1400 | <5 | nr | 100 | 900 | <50 | 0.01 | <1 | 40 | 3 | 50 | 1 | 5.41 | 0.2 | 950 | <10 | 200
EM6022 | 1.4 | 5.864 | 26 | 220 | <0.1 | 0.808 | <0.5 | 77.1 | 60 | 230 | 160 | 17.125 | 0.6 | 34.7 | 13 | 0.849 | 1375 | 2 | 0.35 | 85 | 975 | 11 | 50 | <0.5 | 44 | 4.5 | 47 | 0.2 | 51410 | 0.15 | 930 | 1.5 | 200 | nr | 5.89 | <50 | 220 | <0.5 | 0.8 | <1 | 72 | 50 | 200 | 150 | 17.31 | 0.6 | 33 | 20 | 0.86 | 1400 | <5 | nr | 100 | 900 | <50 | <0.01 | <1 | 40 | 3 | 50 | <0.5 | 5.3 | 0.2 | 950 | <10 | 200
EM6026 | 1.4 | 6.008 | 26 | 220 | <0.1 | 0.821 | <0.5 | 79 | 60 | 230 | 160 | 17.6 | 0.61 | 36.4 | 16.0 | 0.8645 | 1405 | 2 | 0.35 | 90 | 1030 | 12 | 100 | <0.5 | 44 | 4.5 | 50 | 0.1 | 52540 | 0.15 | 935 | 1 | 190 | nr | 5.89 | <50 | 220 | <0.5 | 0.8 | <1 | 74 | <50 | 200 | 150 | 17.54 | 0.6 | 32 | 20 | 0.85 | 1360 | <5 | nr | 100 | 1000 | <50 | <0.01 | <1 | 40 | 4 | 50 | 1.5 | 5.36 | 0.1 | 950 | <10 | 200
EM6033 | 1.2 | 5.928 | 27 | 210 | 0.2 | 0.805 | <0.5 | 79.6 | 60 | 230 | 160 | 17.48 | 0.595 | 36.1 | 16.0 | 0.85 | 1400 | 2 | 0.35 | 90 | 990 | 11 | 100 | <0.5 | 42 | 4.5 | 50 | <0.1 | 52080 | 0.15 | 945 | 1 | 200 | nr | 5.86 | <50 | 220 | <0.5 | 0.8 | <1 | 73 | <50 | 200 | 150 | 17.58 | 0.6 | 31 | 20 | 0.85 | 1370 | 5 | nr | 100 | 1000 | <50 | 0.01 | <1 | 40 | 5 | 50 | 0.5 | 5.43 | 0.1 | 950 | <10 | 200
EM6042 | 1.2 | 5.912 | 26 | 215 | <0.1 | 0.802 | <0.5 | 78 | 65 | 230 | 175 | 17.22 | 0.595 | 34.9 | 15 | 0.843 | 1370 | 2 | 0.345 | 85 | 995 | 11 | 150 | <0.5 | 42 | 4.5 | 49 | 0.2 | 51220 | 0.15 | 925 | 1 | 190 | nr | 5.96 | <50 | 230 | <0.5 | 0.8 | <1 | 74 | <50 | 200 | 150 | 17.42 | 0.6 | 33 | 20 | 0.87 | 1390 | <5 | nr | 50 | 1000 | <50 | 0.01 | 1 | 40 | 4 | 50 | <0.5 | 5.43 | 0.2 | 950 | <10 | 200
EM6044 | 1.4 | 5.963 | 27 | 220 | <0.1 | 0.816 | <0.5 | 79.3 | 65 | 230 | 165 | 17.135 | 0.615 | 35.3 | 15 | 0.859 | 1405 | 2 | 0.355 | 95 | 1030 | 11 | 100 | <0.5 | 43 | 4.5 | 50 | 0.3 | 52430 | 0.2 | 930 | 1 | 200 | nr | 5.85 | <50 | 220 | <0.5 | 0.8 | <1 | 72 | <50 | 200 | 150 | 17.5 | 0.6 | 32 | 20 | 0.86 | 1380 | <5 | nr | 100 | 1000 | <50 | <0.01 | <1 | 40 | 5 | 50 | <0.5 | 5.39 | 0.1 | 1000 | <10 | 200
Average |  | 5.9374 |  | 217.5 |  | 0.8112 |  | 78.31 | 60 | 229 | 161.5 | 17.265 | 0.603 | 35.32 | 13.5 | 0.8589 | 1392.5 | 2 | 0.353 | 88.5 | 1009.5 | 11.2 | 100 |  | 43.7 | 4.5 | 48.4 | 0.15556 | 52025 | 0.155 | 930.5 | 1.3 | 196 |  | 5.894 |  | 221 |  | 0.8 |  | 72.8 | 50 | 205 | 150 | 17.407 | 0.6 | 33.1 | 20 | 0.858 | 1391 |  |  | 100 | 980 |  | 0.01 | 1.5 | 40 | 3.9 | 50 | 1.3571 | 5.382 | 0.15 | 960 |  | 195
Standard Deviation |  | 0.059837 |  | 3.5355 |  | 0.0075836 |  | 1.1742 | 4.714 | 5.6765 | 5.2967 | 0.17623 | 0.0082327 | 0.61968 | 1.069 | 0.010577 | 13.994 | 0 | 0.0048305 | 3.3747 | 22.4165 | 0.42164 | 0 |  | 1.4181 | 0 | 1.2649 | 0.072648 | 510.147 | 0.015811 | 5.9861 | 0.2582 | 5.164 |  | 0.035024 |  | 5.6765 |  | 1.1703e-16 |  | 0.78881 | 0 | 15.8114 | 0 | 0.1453 | 1.1703e-16 | 1.2867 | 0 | 0.0078881 | 17.2884 |  |  | 0 | 63.2456 |  | 0 | 0.70711 | 0 | 0.73786 | 0 | 0.47559 | 0.052239 | 0.052705 | 21.0819 |  | 15.8114
Count | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 6 | 0 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 0 | 10 | 3 | 10 | 10 | 10 | 10 | 10 | 8 | 10 | 10 | 0 | 0 | 9 | 10 | 0 | 4 | 2 | 10 | 10 | 10 | 7 | 10 | 10 | 10 | 0 | 10
95% Confidence Int. |  | 0.042805 |  | 2.5292 |  | 0.005425 |  | 0.83998 | 3.3722 | 4.0607 | 3.7891 | 0.12606 | 0.0058893 | 0.44329 | 0.89374 | 0.0075665 | 10.0107 | 0 | 0.0034555 | 2.4141 | 16.0358 | 0.30162 | 0 |  | 1.0145 | 0 | 0.90486 | 0.055842 | 364.9372 | 0.011311 | 4.2822 | 0.1847 | 3.6941 |  | 0.025055 |  | 4.0607 |  | 8.3717e-17 |  | 0.56428 | 0 | 11.3108 | 0 | 0.10394 | 8.3717e-17 | 0.92044 | 0 | 0.0056428 | 12.3674 |  |  | 0 | 45.2431 |  | 0 | 6.3531 | 0 | 0.52784 | 0 | 0.43985 | 0.037369 | 0.037703 | 15.081 |  | 11.3108
GV-12 - Overall Control Statistics
Analyte/Method | 4 Acid Digest / ICP | [32 empty] | Fusion / ICP
| Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (ppm) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (ppm) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm) | Ag (ppm) | Al (%) | As (ppm) | Ba (ppm) | Bi (ppm) | Ca (%) | Cd (ppm) | Ce (ppm) | Co (ppm) | Cr (ppm) | Cu (ppm) | Fe (%) | K (%) | La (ppm) | Li (ppm) | Mg (%) | Mn (ppm) | Mo (ppm) | Na (%) | Ni (ppm) | P (ppm) | Pb (ppm) | S (%) | Sb (ppm) | Sc (ppm) | Sn (ppm) | Sr (ppm) | Te (ppm) | Ti (%) | Tl (ppm) | V (ppm) | W (ppm) | Zn (ppm)
Average | 0.064074 | 5.7961 | 3.4278 | 216.5724 | 0.0925 | 0.83073 | 0.157 | 76.0934 | 54.5583 | 188.65 | 152.875 | 17.0259 | 0.61016 | 34.6665 | 13.4292 | 0.82009 | 1349.4667 | 1.5758 | 0.36692 | 89.2136 | 759.5667 | 11.2034 | 100.5217 | 0.19275 | 42.8746 | 3.7417 | 48.6664 | 0.146 | 38491.2 | 0.16867 | 749.1 | 1.2275 | 184.4333 | 6.6667 | 5.6934 | 4.9833 | 212.3567 | 0.11789 | 0.8253 | 0.226 | 73.0483 | 53.0023 | 217.4667 | 161.58 | 17.0545 | 0.62561 | 33.9783 | 16.4286 | 0.84588 | 1371.8294 | 2.6667 | 0.34502 | 94.1951 | 972.1366 | 10.5333 | 0.0135 | 0.81667 | 41.98 | 4.3367 | 51.9417 | 1.3571 | 5.3267 | 0.10733 | 919.98 | 1.981 | 187.2821
95% Confidence Int. |  | 0.074323 | 0.45471 | 1.7511 | 0.0072695 | 0.0064963 | 0.010771 | 0.8795 | 1.0374 | 10.3415 | 2.0963 | 0.12165 | 0.0074825 | 0.38055 | 0.2061 | 0.0077044 | 18.4346 | 0.21788 | 0.0050848 | 1.2776 | 66.4911 | 0.14273 | 2.2847 | 0.017651 | 0.72446 | 0.25254 | 0.29614 |  |  | 0.0086853 | 51.4322 | 0.057021 | 2.3428 |  | 0.048172 |  | 1.9425 |  | 0.0097302 |  | 1.1119 | 0.92788 | 4.0381 | 5.403 | 0.10029 | 0.011507 | 0.4735 |  | 0.0055748 | 10.2607 | 0.22646 | 0.0064777 | 1.602 | 14.9766 | 0.2727 |  |  | 1.0117 | 0.23257 | 0.99491 |  | 0.043215 | 0.022144 | 14.755 |  | 5.9046
Average Lab Std Dev |  | 0.091197 | 0.25067 | 5.4387 | 0.0046547 | 0.015282 | 0.027152 | 1.9796 | 2.5149 | 12.9206 | 5.3299 | 0.35981 | 0.013418 | 1.0451 | 0.66553 | 0.015224 | 45.9351 | 0.11262 | 0.010585 | 2.9843 | 55.8807 | 0.33643 | 4.0177 | 0.023004 | 1.0777 | 0.19958 | 1.1271 |  |  | 0.020521 | 31.8699 | 0.16508 | 4.0231 |  | 0.13563 |  | 4.8284 |  | 0.030203 |  | 1.389 | 1.7029 | 13.4972 | 11.0037 | 0.32475 | 0.023076 | 0.95821 |  | 0.016422 | 37.9814 | 0.37515 | 0.011084 | 2.8806 | 48.5328 | 0.57735 |  |  | 2.4716 | 0.54123 | 2.0081 |  | 0.11145 | 0.032546 | 17.3253 |  | 15.5555
Overall Std Dev |  | 0.28771 | 1.3439 | 6.6597 | 0.02273 | 0.024928 | 0.03368 | 3.3449 | 4.0157 | 40.0325 | 8.115 | 0.42351 | 0.028965 | 1.4731 | 0.7098 | 0.029824 | 71.3614 | 0.83607 | 0.019683 | 4.9027 | 257.3909 | 0.54771 | 7.6934 | 0.055191 | 2.78 | 0.9776 | 1.1058 |  |  | 0.033621 | 199.0971 | 0.17829 | 9.0692 |  | 0.18321 |  | 7.5196 |  | 0.037337 |  | 4.3044 | 3.015 | 15.6319 | 19.0114 | 0.38823 | 0.044545 | 1.8329 |  | 0.021581 | 39.7196 | 0.60648 | 0.017348 | 5.0755 | 57.9753 | 0.7303 |  |  | 3.5599 | 0.62283 | 3.8514 |  | 0.16729 | 0.059302 | 51.9181 |  | 18.215
Relative Std Dev |  | 4.964% | 39.21% | 3.075% | 24.57% | 3.001% | 21.45% | 4.396% | 7.36% | 21.22% | 5.308% | 2.487% | 4.747% | 4.249% | 5.285% | 3.637% | 5.288% | 53.06% | 5.365% | 5.495% | 33.89% | 4.889% | 7.653% | 28.63% | 6.484% | 26.13% | 2.272% |  |  | 19.93% | 26.58% | 14.52% | 4.917% |  | 3.218% |  | 3.541% |  | 4.524% |  | 5.892% | 5.688% | 7.188% | 11.77% | 2.276% | 7.12% | 5.394% |  | 2.551% | 2.895% | 22.74% | 5.028% | 5.388% | 5.964% | 6.933% |  |  | 8.48% | 14.36% | 7.415% |  | 3.141% | 55.25% | 5.643% |  | 9.726%
Count |  | 60 | 36 | 58 | 40 | 59 | 40 | 58 | 60 | 60 | 60 | 49 | 60 | 60 | 48 | 60 | 60 | 59 | 60 | 59 | 60 | 59 | 46 | 40 | 59 | 60 | 56 |  |  | 60 | 60 | 40 | 60 |  | 58 |  | 60 |  | 59 |  | 60 | 43 | 60 | 50 | 60 | 60 | 60 |  | 60 | 60 | 30 | 30 | 41 | 60 | 30 |  |  | 50 | 30 | 60 |  | 60 | 30 | 50 |  | 39